## SI2_index
INDEX of supplementary information file SI2 ("SI2_AREc32_Nrf2")
Overall content: Bioanalytical data: raw and analysed data of all experiments conducted with the MCF7/AREc32 assay
Primarily associated article: DIB_A
Tab | Tab name | content
Tab1 | SI2_index | index
Tab2 | MCF7 LR total | Total summarised oxidative stress endpoint readout data (Nrf2 activation); single luciferase, firefly (LR); raw, normalised, and as induction vs.control
Tab3 | MCF7 MTS total | Total summarised cytotoxicity endpoint readout data; tetrazolium dye (MTS);raw, normalised, and as induction vs.control
Tab4 | 210604 LR | Experiment 1; oxidative stress endpoint readout (Nrf2 activation); single luciferase, firefly (LR)
Tab5 | 210604 MTS | Experiment 1; cytotoxicity endpoint readout; tetrazolium dye (MTS)
Tab6 | 210611 LR | Experiment 2; oxidative stress endpoint readout (Nrf2 activation); single luciferase, firefly (LR)
Tab7 | 210611 MTS | Experiment 2; cytotoxicity endpoint readout; tetrazolium dye (MTS)
Tab8 | historical LR | Experiment(s) 3; oxidative stress endpoint readout (Nrf2 activation); single luciferase, firefly (LR)
Tab9 | historical MTS | Experiment(s) 3; cytotoxicity endpoint readout; tetrazolium dye (MTS)
*” historical” refers to data collected in a commercial sampling campaign that predates the research project

## MCF7 LR total
Total summarised oxidative stress endpoint readout data (Nrf2 activation); single luciferase, firefly (LR); raw, normalised, and as induction vs.control
MCF7 luciferase (LR), Nrf2 activation reporter endpoint, pooled data of all experiments (means)
|  | PC - tert-Butylhydroquinone (tBHQ) | [5 empty] | A | STP21 | in REF |  |  | B | STP23 | in REF |  |  | C | STP49 | in REF |  |  | D | STP50 | in REF |  |  | E | STP102 | in REF |  |  | F | STP104 | in REF
Date/experiment | NC | 3.125 µ | 6.25 µM | 12.5 µM | 25 µM | 50 µM | 100 µM |  | 2.5 | 5 | 10 | 20 |  | 2.25 | 4.5 | 9 | 18 |  | 2.5 | 5 | 10 | 20 |  | 2.075 | 4.15 | 8.3 | 19.6 |  | 2.5 | 5 | 10 | 20 |  | 2.5 | 5 | 10 | 20
210604 | 1 | 1.1572 | 1.7366 | 3.4179 | 7.1413 | 18.2691 | 33.9379 |  | 0.97159 | 1.06 | 1.2486 | 1.8035 |  | 1.3857 | 1.9637 | 3.3331 | 5.499 |  | 1.0273 | 0.96705 | 1.0306 | 1.5283 |  | 1.6497 | 1.9298 | 4.1312 | 6.5838 |  | 0.97514 | 1.0259 | 1.0891 | 1.0873 |  | 2.4823 | 3.3236 | 4.6761 | 0.07924
210611 | 1 |  | 1.1334 | 2.3479 | 6.4918 | 21.5462 | 28.7969 |  | 0.78771 | 1.0526 | 1.4342 | 1.9677 |  | 0.93005 | 1.2813 | 2.9962 | 8.0693 |  | 0.69239 | 0.72072 | 0.99281 | 1.4125 |  | 1.1726 | 1.7403 | 3.8866 | 7.5682 |  | 0.59416 | 0.61712 | 0.70587 | 0.88183 |  | 1.2291 | 1.8304 | 3.1424 | 0.059591
historical | 1 | 1.3825 | 1.8219 | 3.0782 | 7.4177 |  |  |  | 1.5129 | 1.3747 | 1.5301 | 3.2855 |  | 2.4311 | 2.5173 | 4.4163 | 11.2488 |  | 1.3855 | 1.0474 | 1.4644 | 2.825 |  | 1.6535 | 2.3604 | 4.8481 | 7.4276 |  | 1.4485 | 1.254 | 1.171 | 1.8164 |  | 4.1994 | 3.3831 | 3.3729 | 0.31278
historical | 1 | 1.6854 | 2.4491 | 6.0144 | 13.1113 | 20.6413 | 37.0116
| 1 | 1.4084 | 1.7852 | 3.7146 | 8.5405 | 20.1522 | 33.2488 |  | 1.0907 | 1.1624 | 1.4043 | 2.3522 |  | 1.5823 | 1.9208 | 3.5819 | 8.2724 |  | 1.0351 | 0.91171 | 1.1626 | 1.922 |  | 1.4919 | 2.0102 | 4.2886 | 7.1932 |  | 1.0059 | 0.96565 | 0.98865 | 1.2618 |  | 2.6369 | 2.8457 | 3.7305 | 0.15054
| 7.8505e-17 | 0.21643 | 0.4662 | 1.383 | 2.6603 | 1.3818 | 3.3888 |  | 0.30781 | 0.15013 | 0.11682 | 0.66333 |  | 0.62839 | 0.50548 | 0.60585 | 2.3517 |  | 0.283 | 0.13897 | 0.21394 | 0.64033 |  | 0.22581 | 0.25944 | 0.40803 | 0.43471 |  | 0.34947 | 0.26345 | 0.20274 | 0.40102 |  | 1.2176 | 0.71832 | 0.67525 | 0.115
Legend
[20 empty] | PC | positive control/reference compound
[20 empty] | NC | negative control/solvent control
[20 empty] | STP21 | WWTP site A effluent (A_E)
[20 empty] | STP23 | WWTP site A influent (A_I)
[20 empty] | STP49 | WWTP site B effluent (B_E)
[20 empty] | STP50 | WWTP site B influent (B_I)
[20 empty] | STP102 | WWTP cite C effluent (C_I)
[20 empty] | STP104 | WWTP site C influent (C_I)
[20 empty] | REF | relative enrichment factor
MCF7 luciferase (LR), Nrf2 activation reporter endpoint, fold induction normalized data
|  |  | PC - tert-Butylhydroquinone (tBHQ) |  |  |  |  | A | STP21 | in REF |  |  | B | STP23 | in REF |  |  | C | STP49 | in REF |  |  | D | STP50 | in REF |  |  | E | STP102 | in REF |  |  | F | STP104 | in REF
Date/experiment | NC |  | 6.25 µM | 12.5 µM | 25 µM | 50 µM | 100 µM |  | 2.5 | 5 | 10 | 20 |  | 2.25 | 4.5 | 9 | 18 |  | 2.5 | 5 | 10 | 20 |  | 2.075 | 4.15 | 8.3 | 19.6 |  | 2.5 | 5 | 10 | 20 |  | 2.5 | 5 | 10 | 20
210604 | 1.0483 |  | 2.0346 | 3.8643 | 8.0888 | 22.0609 | 49.2511 |  | 0.84716 | 0.99842 | 1.1928 | 1.7 |  | 1.3274 | 1.8355 | 3.2264 | 5.5899 |  | 0.98084 | 0.83846 | 0.96493 | 1.5282 |  | 1.605 | 1.8643 | 3.9809 | 6.4562 |  | 0.97288 | 0.97885 | 1.025 | 1.0039 |  | 2.3672 | 3.2038 | 4.0558 | 0.069535
| 0.9123 |  | 1.7007 | 3.4512 | 7.3739 | 18.8088 | 28.2503 |  | 1.0551 | 1.0509 | 1.2885 | 1.9149 |  | 1.3734 | 1.9161 | 3.2519 | 4.8725 |  | 0.99836 | 0.9479 | 0.99468 | 1.355 |  | 1.637 | 2.0056 | 4.376 | 6.7504 |  | 0.9592 | 1.0607 | 1.2277 | 1.3247 |  | 2.5638 | 3.1124 | 4.5752 | 0.083938
| 0.85679 |  | 1.4744 | 2.9382 | 5.9612 | 13.9376 | 24.3123 |  | 1.0125 | 1.1307 | 1.2646 | 1.7955 |  | 1.4562 | 2.1395 | 3.5211 | 6.0346 |  | 1.1028 | 1.1148 | 1.1323 | 1.7018 |  | 1.7072 | 1.9195 | 4.0367 | 6.5448 |  | 0.99336 | 1.038 | 1.0144 | 0.93332 |  | 2.5158 | 3.6545 | 5.3974 | 0.084247
1.0677
1.0219
1.093
210611 | 0.90332 |  | 1.1007 | 2.2261 | 6.1382 | 19.4422 | 35.8972 |  | 0.77811 | 1.0602 | 1.4132 | 1.9047 |  | 0.9645 | 1.4749 | 3.2863 | 8.5939 |  | 0.731 | 0.72241 | 1.0641 | 1.4645 |  | 1.1236 | 1.6507 | 3.9281 | 7.2873 |  | 0.64724 | 0.65257 | 0.74131 | 0.96338 |  | 1.1832 | 1.8365 | 2.9146 | 0.053695
| 0.96409 |  | 1.332 | 2.6837 | 7.2129 | 25.0298 | 22.7229 |  | 0.80942 | 1.0487 | 1.5105 | 2.0647 |  | 0.96408 | 1.3365 | 3.1665 | 8.0751 |  | 0.66525 | 0.73621 | 0.98426 | 1.4015 |  | 1.2268 | 1.8068 | 3.9575 | 7.5916 |  | 0.66481 | 0.63216 | 0.73258 | 0.87052 |  | 1.2476 | 1.8776 | 3.101 | 0.063741
| 0.99191 |  | 0.96736 | 2.1337 | 6.1244 | 20.1665 | 27.7706 |  | 0.7756 | 1.0489 | 1.379 | 1.9336 |  | 0.86159 | 1.0326 | 2.5359 | 7.5389 |  | 0.68092 | 0.70355 | 0.93007 | 1.3715 |  | 1.1674 | 1.7635 | 3.7742 | 7.8257 |  | 0.47042 | 0.56664 | 0.64371 | 0.81159 |  | 1.2564 | 1.7772 | 3.4117 | 0.061336
1.0393
1.1691
1.0306
0.94726
1.0037
0.95067
historical | 1.103 | 1.1069 | 1.7499 | 2.8633 | 5.5187 |  |  |  | 1.5763 | 1.7327 | 1.6047 | 3.7554 |  | 2.0882 | 2.739 | 4.328 | 10.8658 |  | 1.2784 | 1.0958 | 1.2452 | 2.3149 |  | 1.6062 | 2.4626 | 4.4472 | 6.7076 |  | 1.3764 | 1.3017 | 1.0463 | 1.72 |  | 4.3024 | 3.4094 | 3.3492 | 0.40978
| 0.98923 | 0.85032 | 1.4677 | 2.6062 | 5.6698 |  |  |  | 1.6131 | 1.2678 | 1.6423 | 3.2977 |  | 2.7377 | 2.4068 | 4.7837 | 9.7373 |  | 1.4339 | 1.0749 | 1.3889 | 2.4964 |  | 1.6988 | 2.4726 | 4.6076 | 8.2787 |  | 1.4493 | 1.2045 | 1.0429 | 1.9346 |  | 3.9514 | 3.4473 | 2.9625 | 0.23676
| 1.0573 | 0.9825 | 2.1479 | 3.6693 | 12.1445 |  |  |  | 1.3385 | 1.3197 | 1.3151 | 3.2877 |  | 2.3143 | 2.3924 | 4.375 | 11.8906 |  | 1.5265 | 1.0087 | 1.5085 | 3.3083 |  | 1.8385 | 2.3393 | 5.0616 | 7.5677 |  | 1.4586 | 1.2175 | 1.3643 | 1.9491 |  | 4.3944 | 3.5165 | 3.2205 | 0.39145
| 1.011 | 0.92709 | 1.9223 | 3.1741 | 6.3377 |  |  |  | 1.5236 | 1.1787 | 1.5581 | 2.8013 |  | 2.5844 | 2.5309 | 4.1786 | 12.5013 |  | 1.3031 | 1.0101 | 1.715 | 3.1807 |  | 1.4706 | 2.167 | 5.2762 | 7.1563 |  | 1.5098 | 1.2922 | 1.2306 | 1.6621 |  | 4.1494 | 3.159 | 3.9595 | 0.21314
| 0.99464 | 0.8764
| 0.89902 | 1.1915
| 1.083 | 0.8604
| 0.86289 | 1.2049
historical | 1.2168 |  | 3.1193 | 6.2447 | 13.695 | 22.9905 | 41.3285
| 0.91026 |  | 2.2443 | 5.4261 | 13.383 | 21.201 | 37.7122
| 0.9751 |  | 2.2982 | 6.6614 | 12.244 | 18.3672 | 34.4928
| 0.76208 |  | 2.1347 | 5.7255 | 13.1232 | 20.0067 | 34.5129
0.92572
0.98698
1.1246
1.0984
| 1 |  | 1.8353 | 3.8334 | 8.7868 | 20.2011 | 33.6251 |  | 1.1329 | 1.1837 | 1.4169 | 2.4455 |  | 1.6672 | 1.9804 | 3.6653 | 8.57 |  | 1.0701 | 0.92527 | 1.1928 | 2.0123 |  | 1.5081 | 2.0452 | 4.3446 | 7.2166 |  | 1.0502 | 0.99448 | 1.0069 | 1.3173 |  | 2.7932 | 2.8994 | 3.6947 | 0.16676
| 0.1059 |  | 0.54128 | 1.4779 | 3.17 | 2.8408 | 7.718 |  | 0.32902 | 0.20818 | 0.14714 | 0.72368 |  | 0.66833 | 0.53376 | 0.67152 | 2.518 |  | 0.29712 | 0.1535 | 0.25247 | 0.7223 |  | 0.23774 | 0.28287 | 0.48356 | 0.57249 |  | 0.36169 | 0.26732 | 0.22527 | 0.43446 |  | 1.252 | 0.71764 | 0.76135 | 0.13199
MCF7 luciferase (LR), Nrf2 activation reporter endpoint, pooled raw data of all experiments (means)
|  | PC - tert-Butylhydroquinone (tBHQ) | [5 empty] | A | STP21 | in REF |  |  | B | STP23 | in REF |  |  | C | STP49 | in REF |  |  | D | STP50 | in REF |  |  | E | STP102 | in REF |  |  | F | STP104 | in REF
Date/experiment | NC | 3.125 µ | 6.25 µM | 12.5 µM | 25 µM | 50 µM | 100 µM |  | 2.5 | 5 | 10 | 20 |  | 2.25 | 4.5 | 9 | 18 |  | 2.5 | 5 | 10 | 20 |  | 2.075 | 4.15 | 8.3 | 19.6 |  | 2.5 | 5 | 10 | 20 |  | 2.5 | 5 | 10 | 20
210604 | 194060.8333 |  | 336997.3333 | 663281.6667 | 1385844.6667 | 3545315 | 6586010.3333 |  | 188547 | 205705 | 242310.6667 | 349981 |  | 268901.3333 | 381074.3333 | 646830 | 1067142.6667 |  | 199365 | 187666 | 200004.3333 | 296590 |  | 320143.6667 | 374499.3333 | 801707 | 1277659 |  | 189237.3333 | 199077.3333 | 211343 | 211001.3333 |  | 481717 | 644972.3333 | 907454.3333 | 15377.3333
210611 | 188339.8889 |  | 213458 | 442195 | 1222669 | 4058004.3333 | 5423605.3333 |  | 148357.6667 | 198246.6667 | 270124.6667 | 370591.3333 |  | 175166.3333 | 241326.6667 | 564312.6667 | 1519773 |  | 130404.6667 | 135740.6667 | 186985.6667 | 266027.3333 |  | 220848.3333 | 327777 | 732000.6667 | 1425391.6667 |  | 111903.3333 | 116228.6667 | 132943 | 166083 |  | 231488 | 344737.3333 | 591846.3333 | 11223.3333
historical | 46401.625 |  | 80078.75 | 135295.5 | 326025.25 |  |  |  | 73906 | 67155.75 | 74744.25 | 160498.75 |  | 118763.25 | 122970.25 | 215741 | 549510 |  | 67680.5 | 51164.25 | 71535.75 | 138005.5 |  | 80775.25 | 115307.25 | 236835.25 | 362844 |  | 63665.75 | 55115 | 51469.25 | 79836.5 |  | 184575.25 | 148693.75 | 148249 | 13747.5
historical | 37724.25 |  | 92391 | 226890.25 | 494613.75 | 778678.75 | 1396234.25
| 116631.6493 |  | 180731.2708 | 366915.6042 | 857288.1667 | 2793999.3611 | 4468616.6389 |  | 136936.8889 | 157035.8056 | 195726.5278 | 293690.3611 |  | 187610.3056 | 248457.0833 | 475627.8889 | 1045475.2222 |  | 132483.3889 | 124856.9722 | 152841.9167 | 233540.9444 |  | 207255.75 | 272527.8611 | 590180.9722 | 1021964.8889 |  | 121602.1389 | 123473.6667 | 131918.4167 | 152306.9444 |  | 299260.0833 | 379467.8056 | 549183.2222 | 13449.3889
| 74659.1993 |  | 104193.3953 | 204178.1103 | 454600.9641 | 1440335.716 | 2223727.5768 |  | 47493.616 | 63627.693 | 86297.6952 | 94555.8051 |  | 61921.9958 | 105491.1105 | 186830.0009 | 396404.4071 |  | 53780.0626 | 56255.5066 | 57737.2842 | 68696.3609 |  | 98193.2736 | 112796.2308 | 251468.5438 | 469954.9587 |  | 51721.0838 | 58995.2307 | 65272.206 | 54426.6366 |  | 130430.3041 | 204087.8281 | 311408.9384 | 1708.9142
MCF7 luciferase (LR), Nrf2 activation reporter endpoint, raw data
|  |  | PC - tert-Butylhydroquinone (tBHQ) |  |  |  |  | A | STP21 | in REF |  |  | B | STP23 | in REF |  |  | C | STP49 | in REF |  |  | D | STP50 | in REF |  |  | E | STP102 | in REF |  |  | F | STP104 | in REF
Date/experiment | NC |  | 6.25 µM | 12.5 µM | 25 µM | 50 µM | 100 µM |  | 2.5 | 5 | 10 | 20 |  | 2.25 | 4.5 | 9 | 18 |  | 2.5 | 5 | 10 | 20 |  | 2.075 | 4.15 | 8.3 | 19.6 |  | 2.5 | 5 | 10 | 20 |  | 2.5 | 5 | 10 | 20
210604 | 203425 |  | 394830 | 749910 | 1569717 | 4281154 | 9557705 |  | 164401 | 193755 | 231472 | 329898 |  | 257593 | 356194 | 626118 | 1084783 |  | 190343 | 162713 | 187256 | 296563 |  | 311466 | 361792 | 772534 | 1252887 |  | 188797 | 189956 | 198915 | 194809 |  | 459388 | 621731 | 787074 | 13494
| 177041 |  | 330043 | 669740 | 1430978 | 3650053 | 5482269 |  | 204761 | 203942 | 250053 | 371608 |  | 266529 | 371840 | 631058 | 945558 |  | 193742 | 183950 | 193028 | 262950 |  | 317671 | 389199 | 849217 | 1309997 |  | 186143 | 205833 | 238258 | 257075 |  | 497539 | 603986 | 887860 | 16289
| 166270 |  | 286119 | 570195 | 1156839 | 2704738 | 4718057 |  | 196479 | 219418 | 245407 | 348437 |  | 282582 | 415189 | 683314 | 1171087 |  | 214010 | 216335 | 219729 | 330257 |  | 331294 | 372507 | 783370 | 1270093 |  | 192772 | 201443 | 196856 | 181120 |  | 488224 | 709200 | 1047429 | 16349
207204
198317
212108
210611 | 170132 |  | 207313 | 419269 | 1156067 | 3661738 | 6760866 |  | 146550 | 199676 | 266171 | 358738 |  | 181653 | 277785 | 618947 | 1618583 |  | 137677 | 136059 | 200412 | 275820 |  | 211620 | 310899 | 739822 | 1372493 |  | 121902 | 122905 | 139618 | 181442 |  | 222851 | 345879 | 548940 | 10113
| 195747 |  | 250868 | 505455 | 1358475 | 4714112 | 4279631 |  | 152447 | 197505 | 284478 | 388866 |  | 181574 | 251713 | 596372 | 1520858 |  | 125293 | 138657 | 185375 | 263961 |  | 231056 | 340300 | 745353 | 1429798 |  | 125210 | 119061 | 137974 | 163953 |  | 234975 | 353622 | 584033 | 12005
| 178407 |  | 182193 | 401861 | 1153465 | 3798163 | 5230319 |  | 146076 | 197559 | 259725 | 364170 |  | 162272 | 194482 | 477619 | 1419878 |  | 128244 | 132506 | 175170 | 258301 |  | 219869 | 332132 | 710827 | 1473884 |  | 88598 | 106720 | 121237 | 152854 |  | 236638 | 334711 | 642566 | 11552
181576
220188
189036
186817
194107
179049
historical | 54073 | 48479 | 76912 | 125849 | 242562 |  |  |  | 77004 | 84642 | 78393 | 183452 |  | 102010 | 133803 | 211426 | 530803 |  | 62449 | 53532 | 60827 | 113083 |  | 78462 | 120301 | 217248 | 327673 |  | 60496 | 57213 | 45989 | 75598 |  | 189101 | 149853 | 147207 | 18011
| 41539 | 43479 | 64508 | 114548 | 249204 |  |  |  | 78803 | 61933 | 80226 | 161093 |  | 133737 | 117573 | 233686 | 475675 |  | 70046 | 52508 | 67849 | 121949 |  | 82986 | 120789 | 225087 | 404421 |  | 63700 | 52940 | 45837 | 85030 |  | 173675 | 151519 | 130208 | 10406
| 47996 | 46469 | 94404 | 161277 | 533779 |  |  |  | 65388 | 64470 | 64242 | 160605 |  | 113056 | 116870 | 213722 | 580866 |  | 74569 | 49275 | 73690 | 161611 |  | 89813 | 114278 | 247262 | 369690 |  | 64107 | 53511 | 59965 | 85666 |  | 193147 | 154557 | 141549 | 17205
| 45289 | 44435 | 84491 | 139508 | 278556 |  |  |  | 74429 | 57578 | 76116 | 136845 |  | 126250 | 123635 | 204130 | 610696 |  | 63658 | 49342 | 83777 | 155379 |  | 71840 | 105861 | 257744 | 349592 |  | 66360 | 56796 | 54086 | 73052 |  | 182378 | 138846 | 174032 | 9368
| 42813 | 43717
| 58204 | 39514
| 42031 | 47601
| 58861 | 37926
historical | 45904 |  | 117673 | 235577 | 516632 | 867299 | 1559085
| 34339 |  | 84665 | 204697 | 504862 | 799790 | 1422665
| 36785 |  | 86697 | 251295 | 461897 | 692887 | 1301215
| 28749 |  | 80529 | 215992 | 495064 | 754739 | 1301972
34922
37233
42425
41437
| 100093.4359 |  | 167231.7857 | 340369.5 | 793435.5 | 2592467.3 | 4161378.4 |  | 130633.8 | 148047.8 | 183628.3 | 280371.2 |  | 180725.6 | 235908.4 | 449639.2 | 995878.7 |  | 126003.1 | 117487.7 | 144711.3 | 223987.4 |  | 194607.7 | 256805.8 | 554846.4 | 956052.8 |  | 115808.5 | 116637.8 | 123873.5 | 145059.9 |  | 287791.6 | 356390.4 | 509089.8 | 13479.2
| 72395.8867 |  | 105357.9959 | 205028.5783 | 463876.3767 | 1557456.9453 | 2640419.6436 |  | 49916.7706 | 66690.2897 | 89928.3173 | 99453.034 |  | 63196.9161 | 109549.7044 | 197218.909 | 411312.7718 |  | 55061.693 | 59043.5749 | 60956.9111 | 74060.7919 |  | 100867.5754 | 117363.0513 | 262048.7746 | 488752.4162 |  | 52873.9457 | 59851.0877 | 67531.7944 | 59334.1034 |  | 128867.4005 | 207235.1935 | 325181.8168 | 3067.8158
PC STP21 STP23 STP49 STP50 STP102 STP104

## MCF7 MTS total
Total summarised cytotoxicity endpoint readout data; tetrazolium dye (MTS);raw, normalised, and as induction vs.control
MCF7 MTS assay, cytotoxicity, pooled data of all experiments (means)
|  | PC - tert-Butylhydroquinone (tBHQ) | [5 empty] | A | STP21 | in REF |  |  | B | STP23 | in REF |  |  | C | STP49 | in REF |  |  | D | STP50 | in REF |  |  | E | STP102 | in REF |  |  | F | STP104 | in REF
Date/experiment | NC | 3.125 µ | 6.25 µM | 12.5 µM | 25 µM | 50 µM | 100 µM |  | 2.5 | 5 | 10 | 20 |  | 2.25 | 4.5 | 9 | 18 |  | 2.5 | 5 | 10 | 20 |  | 2.075 | 4.15 | 8.3 | 19.6 |  | 2.5 | 5 | 10 | 20 |  | 2.5 | 5 | 10 | 20
210604 | 1 | 1.0394 | 1.0795 | 1.2311 | 1.1024 | 1.2136 | 0.90027 |  | 0.96436 | 0.99341 | 0.98935 | 1.0647 |  | 0.99799 | 1.0199 | 0.99863 | 0.96034 |  | 0.98823 | 0.88553 | 0.88345 | 0.93654 |  | 1.1277 | 1.0205 | 1.0203 | 0.99619 |  | 0.94835 | 0.95406 | 0.95646 | 0.96669 |  | 1.1245 | 0.97102 | 0.839 | 0.079144
210611 | 1 |  | 1.0634 | 1.1472 | 1.2307 | 1.2554 | 0.74442 |  | 0.93765 | 0.98881 | 1.063 | 1.1288 |  | 0.9848 | 1.0248 | 1.093 | 1.0254 |  | 0.91892 | 0.9442 | 0.98887 | 1.0186 |  | 1.0652 | 1.0954 | 1.0995 | 0.99076 |  | 1.0412 | 0.9645 | 0.92712 | 0.91506 |  | 1.1043 | 1.0342 | 0.88815 | 0.075817
historical | 1 | 1.1544 | 1.0763 | 1.1291 | 1.2112 | 1.1619 | 1.5354 |  | 0.91492 | 1.0558 | 1.1473 | 1.182 |  | 1.2523 | 1.2603 | 1.2871 | 1.1771 |  | 1.0626 | 1.1509 | 1.1173 | 1.1093 |  | 1.0933 | 1.1632 | 1.0964 | 1.0203 |  | 1.2354 | 1.1936 | 1.1428 | 1.1318 |  | 1.1893 | 1.0817 | 0.93269 | 0.43952
| 1 | 1.0969 | 1.0731 | 1.1691 | 1.1815 | 1.2103 | 1.06 |  | 0.93898 | 1.0127 | 1.0666 | 1.1252 |  | 1.0784 | 1.1017 | 1.1262 | 1.0543 |  | 0.98992 | 0.99356 | 0.99656 | 1.0215 |  | 1.0954 | 1.093 | 1.0721 | 1.0024 |  | 1.075 | 1.0374 | 1.0088 | 1.0045 |  | 1.1394 | 1.029 | 0.88661 | 0.19816
| 0 | 0.057522 | 0.0069452 | 0.044438 | 0.056479 | 0.038252 | 0.34209 |  | 0.020203 | 0.030559 | 0.064537 | 0.047994 |  | 0.12312 | 0.11219 | 0.1201 | 0.090805 |  | 0.058677 | 0.11383 | 0.095641 | 0.070573 |  | 0.025548 | 0.058275 | 0.036639 | 0.012837 |  | 0.11959 | 0.11052 | 0.095522 | 0.092422 |  | 0.036237 | 0.045338 | 0.038267 | 0.17067
Legend
[21 empty] | PC | positive control/reference compound
[21 empty] | NC | negative control/solvent control
[21 empty] | STP21 | WWTP site A effluent (A_E)
[21 empty] | STP23 | WWTP site A influent (A_I)
[21 empty] | STP49 | WWTP site B effluent (B_E)
[21 empty] | STP50 | WWTP site B influent (B_I)
[21 empty] | STP102 | WWTP cite C effluent (C_I)
[21 empty] | STP104 | WWTP site C influent (C_I)
[21 empty] | REF | relative enrichment factor
MCF7 MTS assay, cytotoxicity, fold induction normalized data
|  |  | PC - tert-Butylhydroquinone (tBHQ) |  |  |  |  | A | STP21 | in REF |  |  | B | STP23 | in REF |  |  | C | STP49 | in REF |  |  | D | STP50 | in REF |  |  | E | STP102 | in REF |  |  | F | STP104 | in REF
Date/experiment | NC |  | 6.25 µM | 12.5 µM | 25 µM | 50 µM | 100 µM |  | 2.5 | 5 | 10 | 20 |  | 2.25 | 4.5 | 9 | 18 |  | 2.5 | 5 | 10 | 20 |  | 2.075 | 4.15 | 8.3 | 19.6 |  | 2.5 | 5 | 10 | 20 |  | 2.5 | 5 | 10 | 20
210604 | 1.0742 |  | 1.1298 | 1.2609 | 1.1343 | 1.2705 | 0.9473 |  | 0.97797 | 1.0192 | 1.0062 | 1.0515 |  | 1.0117 | 0.98749 | 1.0247 | 0.9676 |  | 0.9786 | 0.88215 | 0.88215 | 0.951 |  | 1.1116 | 1.0468 | 1.016 | 1.0173 |  | 0.90594 | 0.93281 | 0.92646 | 0.95459 |  | 1.0893 | 0.95237 | 0.81076 | 0.077205
| 1.0298 |  | 1.063 | 1.2534 | 1.1093 | 1.2253 | 0.90478 |  | 0.98008 | 0.98685 | 0.97426 | 1.0855 |  | 0.99489 | 1.0549 | 1.0002 | 0.9822 |  | 1.0284 | 0.88352 | 0.88215 | 0.93672 |  | 1.1574 | 1.0041 | 1.0481 | 0.99753 |  | 0.9676 | 0.96697 | 0.98273 | 0.95068 |  | 1.1467 | 0.98495 | 0.85994 | 0.087358
| 0.97553 |  | 1.0455 | 1.179 | 1.0635 | 1.1449 | 0.84873 |  | 0.93503 | 0.97416 | 0.98759 | 1.057 |  | 0.98738 | 1.0173 | 0.97099 | 0.93122 |  | 0.95766 | 0.89093 | 0.88606 | 0.92191 |  | 1.114 | 1.0105 | 0.99669 | 0.97374 |  | 0.97152 | 0.96242 | 0.9602 | 0.99478 |  | 1.1375 | 0.97575 | 0.84629 | 0.072869
1.0075
0.95629
0.95671
210611 | 1.0264 |  | 1.0896 | 1.2137 | 1.2693 | 1.3359 | 0.85644 |  | 0.93662 | 1.0104 | 1.0779 | 1.1521 |  | 0.96901 | 1.023 | 1.0936 | 1.0318 |  | 0.88476 | 0.93016 | 0.97255 | 1.0091 |  | 1.0653 | 1.1089 | 1.0902 | 0.97468 |  | 1.0332 | 0.95839 | 0.92078 | 0.92034 |  | 1.0825 | 1.0581 | 0.89361 | 0.080006
| 1.0848 |  | 1.0737 | 1.1427 | 1.2563 | 1.2389 | 0.64793 |  | 0.95857 | 1.0043 | 1.0677 | 1.138 |  | 0.98441 | 1.0339 | 1.1056 | 1.0158 |  | 0.94273 | 0.9468 | 1.0083 | 0.99176 |  | 1.0568 | 1.1062 | 1.1195 | 0.99893 |  | 1.0489 | 0.96379 | 0.92317 | 0.91193 |  | 1.1276 | 1.029 | 0.89131 | 0.076024
| 1.0026 |  | 1.027 | 1.0852 | 1.1666 | 1.1913 | 0.72891 |  | 0.91777 | 0.95167 | 1.0434 | 1.0964 |  | 1.001 | 1.0176 | 1.0798 | 1.0287 |  | 0.92928 | 0.95565 | 0.98574 | 1.055 |  | 1.0735 | 1.0711 | 1.0888 | 0.99866 |  | 1.0416 | 0.97132 | 0.93742 | 0.9129 |  | 1.1029 | 1.0153 | 0.87954 | 0.071422
0.98999
1.0323
0.96716
0.98512
0.97016
0.94149
historical | 0.99087 |  | 1.0768 | 1.1489 | 1.1721 | 1.1968 | 1.5554 |  | 0.97862 | 0.98782 | 1.1382 | 1.1486 |  | 1.2222 | 1.2351 | 1.2349 | 1.1377 |  | 1.0621 | 1.1257 | 1.1798 | 1.0822 |  | 1.0943 | 1.065 | 1.1722 | 0.99602 |  | 1.2294 | 1.1668 | 1.1976 | 1.1956 |  | 1.2591 | 1.0357 | 0.88105 | 0.45056
| 1.0135 |  | 1.1089 | 1.1293 | 1.3064 | 1.1618 | 1.6002 |  | 0.90036 | 0.84845 | 1.1406 | 1.1891 |  | 1.2322 | 1.2561 | 1.2445 | 1.1357 |  | 1.0383 | 1.0536 | 1.0742 | 1.0548 |  | 1.1259 | 1.1459 | 0.97263 | 0.95014 |  | 1.1926 | 1.158 | 1.2075 | 1.1434 |  | 1.2592 | 0.98629 | 1.0742 | 0.43762
| 1.0323 |  | 1.1331 | 1.121 | 1.2605 | 1.153 | 1.4268 |  | 0.89312 | 1.1367 | 1.1468 | 1.2223 |  | 1.284 | 1.2391 | 1.3374 | 1.2249 |  | 1.0675 | 1.2013 | 1.0709 | 1.134 |  | 1.1292 | 1.2225 | 0.97237 | 1.0007 |  | 1.2221 | 1.1346 | 1.0772 | 0.92291 |  | 1.1214 | 1.1672 | 0.97479 | 0.43464
| 1.0017 |  | 1.0836 | 1.0713 | 1.1411 | 1.137 | 1.4811 |  | 0.88759 | 1.2503 | 1.1637 | 1.1682 |  | 1.2709 | 1.3109 | 1.3317 | 1.2099 |  | 1.0826 | 1.2232 | 1.1445 | 1.1663 |  | 1.0237 | 1.2192 | 1.2683 | 1.1343 |  | 1.2976 | 1.3149 | 1.0889 | 1.2651 |  | 1.1175 | 1.1377 | 0.80073 | 0.43525
| 0.99719 |  | 0.9541 | 1.1386 | 1.0861 | 1.2058 | 1.6345
| 0.89827 |  | 1.1015 | 1.1651 | 1.3013 | 1.1167 | 1.5143
1.0455
1.0208
| 1 |  | 1.0739 | 1.1591 | 1.1889 | 1.1982 | 1.1789 |  | 0.93657 | 1.017 | 1.0746 | 1.1309 |  | 1.0958 | 1.1175 | 1.1423 | 1.0666 |  | 0.99719 | 1.0093 | 1.0086 | 1.0303 |  | 1.0952 | 1.1 | 1.0745 | 1.0042 |  | 1.091 | 1.053 | 1.0222 | 1.0172 |  | 1.1444 | 1.0342 | 0.89122 | 0.2223
| 0.041517 |  | 0.04695 | 0.056974 | 0.082274 | 0.060064 | 0.36722 |  | 0.034371 | 0.10258 | 0.067003 | 0.053824 |  | 0.12929 | 0.11917 | 0.12804 | 0.097942 |  | 0.06422 | 0.12537 | 0.10236 | 0.078669 |  | 0.038143 | 0.073172 | 0.089765 | 0.046912 |  | 0.12673 | 0.12363 | 0.10698 | 0.12582 |  | 0.060413 | 0.066478 | 0.076403 | 0.17746
MCF7 MTS assay, cytotoxicity, raw pooled data
|  |  | PC - tert-Butylhydroquinone (tBHQ) |  |  |  |  | A | STP21 | in REF |  |  | B | STP23 | in REF |  |  | C | STP49 | in REF |  |  | D | STP50 | in REF |  |  | E | STP102 | in REF |  |  | F | STP104 | in REF
Date/experiment | NC |  | 6.25 µM | 12.5 µM | 25 µM | 50 µM | 100 µM |  | 2.5 | 5 | 10 | 20 |  | 2.25 | 4.5 | 9 | 18 |  | 2.5 | 5 | 10 | 20 |  | 2.075 | 4.15 | 8.3 | 19.6 |  | 2.5 | 5 | 10 | 20 |  | 2.5 | 5 | 10 | 20
210604 | 0.94553 |  | 1.0207 | 1.164 | 1.0423 | 1.1475 | 0.85123 |  | 0.91183 | 0.9393 | 0.93547 | 1.0067 |  | 0.94363 | 0.96433 | 0.94423 | 0.90803 |  | 0.9344 | 0.8373 | 0.83533 | 0.88553 |  | 1.0663 | 0.9649 | 0.9647 | 0.94193 |  | 0.8967 | 0.9021 | 0.90437 | 0.91403 |  | 1.0632 | 0.91813 | 0.7933 | 0.074833
210611 | 1.1299 |  | 1.2016 | 1.2963 | 1.3906 | 1.4185 | 0.84113 |  | 1.0595 | 1.1173 | 1.2011 | 1.2755 |  | 1.1127 | 1.158 | 1.235 | 1.1586 |  | 1.0383 | 1.0669 | 1.1173 | 1.1509 |  | 1.2036 | 1.2377 | 1.2423 | 1.1195 |  | 1.0339 | 1.0476 | 1.0898 | 1.1765 |  | 1.2478 | 1.1685 | 1.0035 | 0.085667
historical | 0.53466 |  | 0.64923 | 0.68103 | 0.7306 | 0.70082 | 0.92612 |  | 0.43771 | 0.41973 | 0.4527 | 0.46 |  | 0.49706 | 0.50103 | 0.52336 | 0.52727 |  | 0.60693 | 0.57571 | 0.61019 | 0.62969 |  | 0.59026 | 0.57213 | 0.58988 | 0.63363 |  | 0.69232 | 0.67961 | 0.62978 | 0.71792 |  | 0.52419 | 0.54312 | 0.53455 | 0.50466
| 0.87003 |  | 0.95716 | 1.0471 | 1.0545 | 1.0889 | 0.87283 |  | 0.803 | 0.82543 | 0.86309 | 0.91404 |  | 0.85114 | 0.87444 | 0.90086 | 0.86465 |  | 0.85988 | 0.82663 | 0.85428 | 0.88872 |  | 0.95337 | 0.92492 | 0.9323 | 0.89834 |  | 0.87432 | 0.87643 | 0.87465 | 0.93615 |  | 0.94508 | 0.87659 | 0.77713 | 0.22172
| 0.24881 |  | 0.22992 | 0.26443 | 0.2696 | 0.29589 | 0.037906 |  | 0.26524 | 0.29593 | 0.30979 | 0.33929 |  | 0.25972 | 0.27562 | 0.29214 | 0.25957 |  | 0.18382 | 0.20065 | 0.20747 | 0.21281 |  | 0.26281 | 0.2732 | 0.26735 | 0.20072 |  | 0.14036 | 0.15131 | 0.18897 | 0.18787 |  | 0.307 | 0.25699 | 0.1918 | 0.20012
MCF7 MTS assay, cytotoxicity, raw data
|  |  | PC - tert-Butylhydroquinone (tBHQ) |  |  |  |  | A | STP21 | in REF |  |  | B | STP23 | in REF |  |  | C | STP49 | in REF |  |  | D | STP50 | in REF |  |  | E | STP102 | in REF |  |  | F | STP104 | in REF
Date/experiment | NC |  | 6.25 µM | 12.5 µM | 25 µM | 50 µM | 100 µM |  | 2.5 | 5 | 10 | 20 |  | 2.25 | 4.5 | 9 | 18 |  | 2.5 | 5 | 10 | 20 |  | 2.075 | 4.15 | 8.3 | 19.6 |  | 2.5 | 5 | 10 | 20 |  | 2.5 | 5 | 10 | 20
210604 | 1.0157 |  | 1.0683 | 1.1922 | 1.0725 | 1.2013 | 0.8957 |  | 0.9247 | 0.9637 | 0.9514 | 0.9942 |  | 0.9566 | 0.9337 | 0.9689 | 0.9149 |  | 0.9253 | 0.8341 | 0.8341 | 0.8992 |  | 1.0511 | 0.9898 | 0.9607 | 0.9619 |  | 0.8566 | 0.882 | 0.876 | 0.9026 |  | 1.03 | 0.9005 | 0.7666 | 0.073
| 0.9737 |  | 1.0051 | 1.1851 | 1.0489 | 1.1586 | 0.8555 |  | 0.9267 | 0.9331 | 0.9212 | 1.0264 |  | 0.9407 | 0.9974 | 0.9457 | 0.9287 |  | 0.9724 | 0.8354 | 0.8341 | 0.8857 |  | 1.0944 | 0.9494 | 0.991 | 0.9432 |  | 0.9149 | 0.9143 | 0.9292 | 0.8989 |  | 1.0842 | 0.9313 | 0.8131 | 0.0826
| 0.9224 |  | 0.9886 | 1.1148 | 1.0056 | 1.0825 | 0.8025 |  | 0.8841 | 0.9211 | 0.9338 | 0.9994 |  | 0.9336 | 0.9619 | 0.9181 | 0.8805 |  | 0.9055 | 0.8424 | 0.8378 | 0.8717 |  | 1.0533 | 0.9555 | 0.9424 | 0.9207 |  | 0.9186 | 0.91 | 0.9079 | 0.9406 |  | 1.0755 | 0.9226 | 0.8002 | 0.0689
0.9526
0.9042
0.9046
210611 | 1.1597 |  | 1.2311 | 1.3714 | 1.4342 | 1.5095 | 0.9677 |  | 1.0583 | 1.1417 | 1.2179 | 1.3018 |  | 1.0949 | 1.1559 | 1.2357 | 1.1658 |  | 0.9997 | 1.051 | 1.0989 | 1.1402 |  | 1.2037 | 1.253 | 1.2318 | 1.1013 |  | 1.0399 | 1.0404 | 1.0829 | 1.1674 |  | 1.2231 | 1.1956 | 1.0097 | 0.0904
| 1.2257 |  | 1.2132 | 1.2912 | 1.4195 | 1.3998 | 0.7321 |  | 1.0831 | 1.1348 | 1.2064 | 1.2858 |  | 1.1123 | 1.1682 | 1.2492 | 1.1478 |  | 1.0652 | 1.0698 | 1.1393 | 1.1206 |  | 1.1941 | 1.2499 | 1.2649 | 1.1287 |  | 1.0304 | 1.0431 | 1.089 | 1.1852 |  | 1.2741 | 1.1627 | 1.0071 | 0.0859
| 1.1329 |  | 1.1604 | 1.2262 | 1.3182 | 1.3461 | 0.8236 |  | 1.037 | 1.0753 | 1.179 | 1.2388 |  | 1.131 | 1.1498 | 1.2201 | 1.1623 |  | 1.05 | 1.0798 | 1.1138 | 1.192 |  | 1.213 | 1.2103 | 1.2303 | 1.1284 |  | 1.0315 | 1.0592 | 1.0975 | 1.1769 |  | 1.2462 | 1.1472 | 0.9938 | 0.0807
1.1186
1.1664
1.0928
1.1131
1.0962
1.0638
historical | 0.52961 |  | 0.6495 | 0.693 | 0.707 | 0.7219 | 0.9382 |  | 0.40285 | 0.37063 | 0.36765 | 0.36538 |  | 0.50311 | 0.50725 | 0.52854 | 0.52319 |  | 0.57948 | 0.56647 | 0.58238 | 0.59065 |  | 0.59703 | 0.61429 | 0.61606 | 0.5585 |  | 0.71084 | 0.68955 | 0.7066 | 0.75026 |  | 0.728 | 0.72807 | 0.64838 | 0.64615
| 0.53896 |  | 0.6689 | 0.6812 | 0.788 | 0.7008 | 0.9652 |  | 0.40664 | 0.34927 | 0.46792 | 0.51468 |  | 0.50844 | 0.51707 | 0.51009 | 0.53964 |  | 0.61413 | 0.57482 | 0.6554 | 0.66737 |  | 0.58104 | 0.6252 | 0.66699 | 0.66518 |  | 0.67466 | 0.66956 | 0.65601 | 0.76028 |  | 0.59883 | 0.57028 | 0.67488 | 0.65783
| 0.55436 |  | 0.6835 | 0.6762 | 0.7603 | 0.6955 | 0.8606 |  | 0.46853 | 0.46952 | 0.47208 | 0.47905 |  | 0.50833 | 0.51229 | 0.55055 | 0.54819 |  | 0.64365 | 0.58609 | 0.58426 | 0.62441 |  | 0.63955 | 0.53065 | 0.53051 | 0.69198 |  | 0.69247 | 0.69821 | 0.62287 | 0.62962 |  | 0.50943 | 0.62112 | 0.56363 | 0.46299
| 0.53682 |  | 0.6536 | 0.6462 | 0.6883 | 0.6858 | 0.8934 |  | 0.47282 | 0.4895 | 0.50316 | 0.48089 |  | 0.46835 | 0.46752 | 0.50424 | 0.49806 |  | 0.59045 | 0.57548 | 0.61871 | 0.63631 |  | 0.54341 | 0.51838 | 0.54596 | 0.61886 |  | 0.69132 | 0.66112 | 0.53363 | 0.73151 |  | 0.26052 | 0.25304 | 0.25131 | 0.25167
| 0.53422 |  | 0.5755 | 0.6868 | 0.6551 | 0.7273 | 0.9859
| 0.47577 |  | 0.6644 | 0.7028 | 0.7849 | 0.6736 | 0.9134
0.56312
0.5444
| 0.87477 |  | 0.88018 | 0.95559 | 0.97354 | 0.99189 | 0.88615 |  | 0.76647 | 0.78486 | 0.82205 | 0.86864 |  | 0.81573 | 0.8371 | 0.86311 | 0.83091 |  | 0.83458 | 0.80153 | 0.82987 | 0.86281 |  | 0.91706 | 0.88964 | 0.89806 | 0.87187 |  | 0.85612 | 0.85674 | 0.85016 | 0.91433 |  | 0.90299 | 0.84324 | 0.75287 | 0.25001
| 0.26164 |  | 0.24197 | 0.28091 | 0.27624 | 0.30958 | 0.072272 |  | 0.27565 | 0.30898 | 0.32046 | 0.35173 |  | 0.26869 | 0.28512 | 0.2999 | 0.26678 |  | 0.19205 | 0.20486 | 0.21106 | 0.21774 |  | 0.27321 | 0.28196 | 0.2762 | 0.20911 |  | 0.145 | 0.15577 | 0.19819 | 0.19302 |  | 0.33578 | 0.2866 | 0.2234 | 0.23278
PC STP21 STP23 STP49 STP50 STP102 STP104

## 210604 LR
Experiment 1; oxidative stress endpoint readout (Nrf2 activation); single luciferase, firefly (LR)
Method name: LARonly_96_SL
Application: SparkControl |  |  |  | V3.1
Device: Spark |  |  |  | Serial number: 2009000983
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦GCM:V3.0.2¦INJ:V3.1.1¦PODI:V1.11.2
Date: |  |  |  | 2021-06-04
Time: |  |  |  | 18:04
System |  |  |  | SLU200579
User |  |  |  | AD\
Plate |  |  |  | [COR96fw clear bottom] - Corning 96 Flat White Cat. No.: 3632
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script: | [13 empty] | Legend
Plate | [13 empty] | NC | negative/solvent control (upper row w/o solvent)
| Well | [12 empty] | PC | positive control/reference compound
|  | Injector | [11 empty] | STP | environmental sample
Wait
|  | Luminescence |  |  |  | Firefly | [7 empty] | Calculation
| Move plate | [12 empty] | All raw Firerfly luciferase values were normalized to mean NC value (marked in red, 6-9 technical replicates), and expressed as induced activity
Historical background values have been substratcted within operating software.
Name |  |  |  | COR96fw clear bottom | [9 empty] | First, due to consistent and low historical absolute background values not impacting statistical analysis (around 60-80 raw units).
Plate layout | [13 empty] | Second, to increase the space on the multititer plate for NCs and samples.
Plate area |  |  |  | A1-H12
Injector A
Volume [µl] |  |  |  | 50
Speed [µl/s] |  |  |  | 200
Refill speed [µl/s] |  |  |  | 100
Refill mode |  |  |  | Standard
Part of Plate |  |  |  | A1-H12
Wait (Time) hh:mm:ss |  |  |  | 00:00:03
Wait position |  |  |  | Current
Mode | Luminescence
Name | Firefly
Attenuation |  |  |  | Automatic
Attenuation color |  |  |  | OD0 | OD1
Settle time [ms] |  |  |  | 150
Integration time [ms] |  |  |  | 10000
Output |  |  |  | Counts / s
Part of Plate |  |  |  | A1-H12
Start Time |  |  |  | 2021-06-04 17:40:43
Temperature [°C] |  |  |  | 25.3
Firefly | 194060.8333 |  | NC | A (STP21) |  |  | B (STP23) |  |  | E (STP49) | Raw Firefly Luciferase luminescence units
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 203425 | 177041 | 166270 | 329898 | 371608 | 348437 | 1084783 | 945558 | 1171087 | 194809 | 257075 | 181120 |  | 1.0483 | 0.9123 | 0.85679 | 1.7 | 1.9149 | 1.7955 | 5.5899 | 4.8725 | 6.0346 | 1.0039 | 1.3247 | 0.93332
B | 207204 | 198317 | 212108 | 231472 | 250053 | 245407 | 626118 | 631058 | 683314 | 198915 | 238258 | 196856 |  | 1.0677 | 1.0219 | 1.093 | 1.1928 | 1.2885 | 1.2646 | 3.2264 | 3.2519 | 3.5211 | 1.025 | 1.2277 | 1.0144
C | 241516 | 233911 | 198276 | 193755 | 203942 | 219418 | 356194 | 371840 | 415189 | 189956 | 205833 | 201443 |  | 1.2445 | 1.2053 | 1.0217 | 0.99842 | 1.0509 | 1.1307 | 1.8355 | 1.9161 | 2.1395 | 0.97885 | 1.0607 | 1.038
D | 394830 | 330043 | 286119 | 164401 | 204761 | 196479 | 257593 | 266529 | 282582 | 188797 | 186143 | 192772 |  | 2.0346 | 1.7007 | 1.4744 | 0.84716 | 1.0551 | 1.0125 | 1.3274 | 1.3734 | 1.4562 | 0.97288 | 0.9592 | 0.99336
E | 749910 | 669740 | 570195 | 311466 | 317671 | 331294 | 190343 | 193742 | 214010 | 459388 | 497539 | 488224 |  | 3.8643 | 3.4512 | 2.9382 | 1.605 | 1.637 | 1.7072 | 0.98084 | 0.99836 | 1.1028 | 2.3672 | 2.5638 | 2.5158
F | 1569717 | 1430978 | 1156839 | 361792 | 389199 | 372507 | 162713 | 183950 | 216335 | 621731 | 603986 | 709200 |  | 8.0888 | 7.3739 | 5.9612 | 1.8643 | 2.0056 | 1.9195 | 0.83846 | 0.9479 | 1.1148 | 3.2038 | 3.1124 | 3.6545
G | 4281154 | 3650053 | 2704738 | 772534 | 849217 | 783370 | 187256 | 193028 | 219729 | 787074 | 887860 | 1047429 |  | 22.0609 | 18.8088 | 13.9376 | 3.9809 | 4.376 | 4.0367 | 0.96493 | 0.99468 | 1.1323 | 4.0558 | 4.5752 | 5.3974
H | 9557705 | 5482269 | 4718057 | 1252887 | 1309997 | 1270093 | 296563 | 262950 | 330257 | 13494 | 16289 | 16349 |  | 49.2511 | 28.2503 | 24.3123 | 6.4562 | 6.7504 | 6.5448 | 1.5282 | 1.355 | 1.7018 | 0.069535 | 0.083938 | 0.084247
|  | PC-tBHQ |  | D (STP50) |  |  | C (STP102) |  |  | F (STP104)
[7 empty] | As fold induction vs. control |  |  | in uM | [5 empty] | in %
[7 empty] | NC |  | PC 3 | PC 6.25 | PC 12.5 | PC 25 | PC 50 | PC 100 |  | A 0.125 | A 0.25 | A 0.5 | A 1 |  | B 0.125 | B 0.25 | B 0.5 | B 1 |  | C 0.125 | C 0.25 | C 0.5 | C 1 | D 0.125 | D 0.25 | D 0.5 | D 1 | E 0.125 | E 0.25 | E 0.5 | E 1 | F 0.125 | F 0.25 | F 0.5 | F 1
End Time |  |  |  | 2021-06-04 18:04:47
[7 empty] | 1.0483 |  | 1.2445 | 2.0346 | 3.8643 | 8.0888 | 22.0609 | 49.2511 |  | 0.84716 | 0.99842 | 1.1928 | 1.7 |  | 1.3274 | 1.8355 | 3.2264 | 5.5899 |  | 0.98084 | 0.83846 | 0.96493 | 1.5282 | 1.605 | 1.8643 | 3.9809 | 6.4562 | 0.97288 | 0.97885 | 1.025 | 1.0039 | 2.3672 | 3.2038 | 4.0558 | 0.069535
Start Time |  |  |  | 2021-06-04 18:04:50 |  |  | 0.9123 |  | 1.2053 | 1.7007 | 3.4512 | 7.3739 | 18.8088 | 28.2503 |  | 1.0551 | 1.0509 | 1.2885 | 1.9149 |  | 1.3734 | 1.9161 | 3.2519 | 4.8725 |  | 0.99836 | 0.9479 | 0.99468 | 1.355 | 1.637 | 2.0056 | 4.376 | 6.7504 | 0.9592 | 1.0607 | 1.2277 | 1.3247 | 2.5638 | 3.1124 | 4.5752 | 0.083938
Movement |  |  |  | Out |  |  | 0.85679 |  | 1.0217 | 1.4744 | 2.9382 | 5.9612 | 13.9376 | 24.3123 |  | 1.0125 | 1.1307 | 1.2646 | 1.7955 |  | 1.4562 | 2.1395 | 3.5211 | 6.0346 |  | 1.1028 | 1.1148 | 1.1323 | 1.7018 | 1.7072 | 1.9195 | 4.0367 | 6.5448 | 0.99336 | 1.038 | 1.0144 | 0.93332 | 2.5158 | 3.6545 | 5.3974 | 0.084247
End Time |  |  |  | 2021-06-04 18:04:57 |  |  | 1.0677
1.0219
1.093
[7 empty] | 1 |  | 1.1572 | 1.7366 | 3.4179 | 7.1413 | 18.2691 | 33.9379 |  | 0.97159 | 1.06 | 1.2486 | 1.8035 |  | 1.3857 | 1.9637 | 3.3331 | 5.499 |  | 1.0273 | 0.96705 | 1.0306 | 1.5283 | 1.6497 | 1.9298 | 4.1312 | 6.5838 | 0.97514 | 1.0259 | 1.0891 | 1.0873 | 2.4823 | 3.3236 | 4.6761 | 0.07924
[7 empty] | 0.085873 |  | 0.097127 | 0.2301 | 0.3788 | 0.88401 | 3.3382 | 10.9468 |  | 0.08969 | 0.054368 | 0.040685 | 0.087926 |  | 0.053276 | 0.12859 | 0.13334 | 0.47878 |  | 0.053839 | 0.11362 | 0.07289 | 0.14159 | 0.042674 | 0.058112 | 0.17461 | 0.12327 | 0.014038 | 0.034495 | 0.098167 | 0.17033 | 0.083688 | 0.23699 | 0.55235 | 0.0068635

## 210604 MTS
Experiment 1; cytotoxicity endpoint readout; tetrazolium dye (MTS)
Method name: MTS_96_SL (Modified)
Application: SparkControl |  |  |  | V3.1
Device: Spark |  |  |  | Serial number: 2009000983
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦GCM:V3.0.2¦INJ:V3.1.1¦PODI:V1.11.2
Date: |  |  |  | 2021-06-04
Time: |  |  |  | 16:20
System |  |  |  | SLU200579
User |  |  |  | AD\
Plate |  |  |  | [COR96fw clear bottom] - Corning 96 Flat White Cat. No.: 3632
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script: | [13 empty] | Legend
Plate | [13 empty] | NC | negative/solvent control (upper row w/o solvent)
| Shaking | [12 empty] | PC | positive control/reference compound
| Absorbance |  |  |  |  | MTS | [7 empty] | STP | environmental sample
Move plate
Calculation
Name |  |  |  | COR96fw clear bottom | [9 empty] | All raw absorbance values were normalized to mean NC value (marked in red, 6-9 technical replicates), and expressed as induced activity
Plate layout | [13 empty] | Historical background values have been substratcted within operating software.
Plate area |  |  |  | A1-H12 | [9 empty] | First, due to consistent and low historical absolute background values not impacting statistical analysis (around ~0.05 raw units).
Second, to increase the space on the multititer plate for NCs and samples.
Start Time |  |  |  | 2021-06-04 16:19:32
Shaking (Orbital) Duration [s] |  |  |  | 20
Shaking (Orbital) Position |  |  |  | Current
Shaking (Orbital) Amplitude [mm] |  |  |  | 1
Shaking (Orbital) Frequency [rpm] |  |  |  | 510
End Time |  |  |  | 2021-06-04 16:19:52
Mode | Absorbance
Name | MTS
Measurement wavelength [nm] |  |  |  | 490
Number of flashes |  |  |  | 25
Settle time [ms] |  |  |  | 0
Part of Plate |  |  |  | A1-H12
Start Time |  |  |  | 2021-06-04 16:19:52
Temperature [°C] |  |  |  | 24.2
| 0.94553 |  | NC | A (STP21) |  |  | B (STP23) |  |  | E (STP49) | Raw absorbance values
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.0157 | 0.9737 | 0.9224 | 0.9942 | 1.0264 | 0.9994 | 0.9149 | 0.9287 | 0.8805 | 0.9026 | 0.8989 | 0.9406 |  | 1.0742 | 1.0298 | 0.97553 | 1.0515 | 1.0855 | 1.057 | 0.9676 | 0.9822 | 0.93122 | 0.95459 | 0.95068 | 0.99478
B | 0.9526 | 0.9042 | 0.9046 | 0.9514 | 0.9212 | 0.9338 | 0.9689 | 0.9457 | 0.9181 | 0.876 | 0.9292 | 0.9079 |  | 1.0075 | 0.95629 | 0.95671 | 1.0062 | 0.97426 | 0.98759 | 1.0247 | 1.0002 | 0.97099 | 0.92646 | 0.98273 | 0.9602
C | 1.0281 | 0.9674 | 0.9528 | 0.9637 | 0.9331 | 0.9211 | 0.9337 | 0.9974 | 0.9619 | 0.882 | 0.9143 | 0.91 |  | 1.0873 | 1.0231 | 1.0077 | 1.0192 | 0.98685 | 0.97416 | 0.98749 | 1.0549 | 1.0173 | 0.93281 | 0.96697 | 0.96242
D | 1.0683 | 1.0051 | 0.9886 | 0.9247 | 0.9267 | 0.8841 | 0.9566 | 0.9407 | 0.9336 | 0.8566 | 0.9149 | 0.9186 |  | 1.1298 | 1.063 | 1.0455 | 0.97797 | 0.98008 | 0.93503 | 1.0117 | 0.99489 | 0.98738 | 0.90594 | 0.9676 | 0.97152
E | 1.1922 | 1.1851 | 1.1148 | 1.0511 | 1.0944 | 1.0533 | 0.9253 | 0.9724 | 0.9055 | 1.03 | 1.0842 | 1.0755 |  | 1.2609 | 1.2534 | 1.179 | 1.1116 | 1.1574 | 1.114 | 0.9786 | 1.0284 | 0.95766 | 1.0893 | 1.1467 | 1.1375
F | 1.0725 | 1.0489 | 1.0056 | 0.9898 | 0.9494 | 0.9555 | 0.8341 | 0.8354 | 0.8424 | 0.9005 | 0.9313 | 0.9226 |  | 1.1343 | 1.1093 | 1.0635 | 1.0468 | 1.0041 | 1.0105 | 0.88215 | 0.88352 | 0.89093 | 0.95237 | 0.98495 | 0.97575
G | 1.2013 | 1.1586 | 1.0825 | 0.9607 | 0.991 | 0.9424 | 0.8341 | 0.8341 | 0.8378 | 0.7666 | 0.8131 | 0.8002 |  | 1.2705 | 1.2253 | 1.1449 | 1.016 | 1.0481 | 0.99669 | 0.88215 | 0.88215 | 0.88606 | 0.81076 | 0.85994 | 0.84629
H | 0.8957 | 0.8555 | 0.8025 | 0.9619 | 0.9432 | 0.9207 | 0.8992 | 0.8857 | 0.8717 | 0.073 | 0.0826 | 0.0689 |  | 0.9473 | 0.90478 | 0.84873 | 1.0173 | 0.99753 | 0.97374 | 0.951 | 0.93672 | 0.92191 | 0.077205 | 0.087358 | 0.072869
|  |  |  | D (STP50) |  |  | C (STP102) |  |  | F (STP104) | [5 empty] | in %
As fold induction vs. control
End Time |  |  |  | 2021-06-04 16:20:15 |  |  | NC |  | PC 3 | PC 6.25 | PC 12.5 | PC 25 | PC 50 | PC 100 |  | A 0.125 | A 0.25 | A 0.5 | A 1 |  | B 0.125 | B 0.25 | B 0.5 | B 1 |  | C 0.125 | C 0.25 | C 0.5 | C 1 | D 0.125 | D 0.25 | D 0.5 | D 1 | E 0.125 | E 0.25 | E 0.5 | E 1 | F 0.125 | F 0.25 | F 0.5 | F 1
Start Time |  |  |  | 2021-06-04 16:20:18 |  |  | 1.0742 |  | 1.0873 | 1.1298 | 1.2609 | 1.1343 | 1.2705 | 0.9473 |  | 0.97797 | 1.0192 | 1.0062 | 1.0515 |  | 1.0117 | 0.98749 | 1.0247 | 0.9676 |  | 0.9786 | 0.88215 | 0.88215 | 0.951 | 1.1116 | 1.0468 | 1.016 | 1.0173 | 0.90594 | 0.93281 | 0.92646 | 0.95459 | 1.0893 | 0.95237 | 0.81076 | 0.077205
Movement |  |  |  | Out |  |  | 1.0298 |  | 1.0231 | 1.063 | 1.2534 | 1.1093 | 1.2253 | 0.90478 |  | 0.98008 | 0.98685 | 0.97426 | 1.0855 |  | 0.99489 | 1.0549 | 1.0002 | 0.9822 |  | 1.0284 | 0.88352 | 0.88215 | 0.93672 | 1.1574 | 1.0041 | 1.0481 | 0.99753 | 0.9676 | 0.96697 | 0.98273 | 0.95068 | 1.1467 | 0.98495 | 0.85994 | 0.087358
End Time |  |  |  | 2021-06-04 16:20:24 |  |  | 0.97553 |  | 1.0077 | 1.0455 | 1.179 | 1.0635 | 1.1449 | 0.84873 |  | 0.93503 | 0.97416 | 0.98759 | 1.057 |  | 0.98738 | 1.0173 | 0.97099 | 0.93122 |  | 0.95766 | 0.89093 | 0.88606 | 0.92191 | 1.114 | 1.0105 | 0.99669 | 0.97374 | 0.97152 | 0.96242 | 0.9602 | 0.99478 | 1.1375 | 0.97575 | 0.84629 | 0.072869
1.0075
0.95629
0.95671
[7 empty] | 1 |  | 1.0394 | 1.0795 | 1.2311 | 1.1024 | 1.2136 | 0.90027 |  | 0.96436 | 0.99341 | 0.98935 | 1.0647 |  | 0.99799 | 1.0199 | 0.99863 | 0.96034 |  | 0.98823 | 0.88553 | 0.88345 | 0.93654 | 1.1277 | 1.0205 | 1.0203 | 0.99619 | 0.94835 | 0.95406 | 0.95646 | 0.96669 | 1.1245 | 0.97102 | 0.839 | 0.079144
[7 empty] | 0.042493 |  | 0.034483 | 0.036327 | 0.036946 | 0.0293 | 0.051965 | 0.040367 |  | 0.020758 | 0.018969 | 0.013099 | 0.014927 |  | 0.01017 | 0.027564 | 0.021961 | 0.021435 |  | 0.029676 | 0.0038551 | 0.0018447 | 0.011874 | 0.021061 | 0.018807 | 0.021196 | 0.017814 | 0.030031 | 0.015146 | 0.023121 | 0.019932 | 0.025135 | 0.013711 | 0.02073 | 0.006072

## 210611 LR
Experiment 2; oxidative stress endpoint readout (Nrf2 activation); single luciferase, firefly (LR)
Method name: LARonly_96_SL
Application: SparkControl |  |  |  | V3.1
Device: Spark |  |  |  | Serial number: 2009000983
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦GCM:V3.0.2¦INJ:V3.1.1¦PODI:V1.11.2
Date: |  |  |  | 2021-06-11
Time: |  |  |  | 17:41
System |  |  |  | SLU200579
User |  |  |  | AD\
Plate |  |  |  | [COR96fw clear bottom] - Corning 96 Flat White Cat. No.: 3632
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script: | [13 empty] | Legend
Plate | [13 empty] | NC | negative/solvent control (upper row w/o solvent)
| Well | [12 empty] | PC | positive control/reference compound
|  | Injector | [11 empty] | STP | environmental sample
Wait
|  | Luminescence |  |  |  | Firefly | [7 empty] | Calculation
| Move plate | [12 empty] | All raw Firerfly luciferase values were normalized to mean NC value (marked in red, 6-9 technical replicates), and expressed as induced activity
Historical background values have been substratcted within operating software.
Name |  |  |  | COR96fw clear bottom | [9 empty] | First, due to consistent and low historical absolute background values not impacting statistical analysis (around 60-80 raw units).
Plate layout | [13 empty] | Second, to increase the space on the multititer plate for NCs and samples.
Plate area |  |  |  | A1-H12
Injector A
Volume [µl] |  |  |  | 50
Speed [µl/s] |  |  |  | 200
Refill speed [µl/s] |  |  |  | 100
Refill mode |  |  |  | Standard
Part of Plate |  |  |  | A1-H12
Wait (Time) hh:mm:ss |  |  |  | 00:00:03
Wait position |  |  |  | Current
Mode | Luminescence
Name | Firefly
Attenuation |  |  |  | Automatic
Attenuation color |  |  |  | OD0
Settle time [ms] |  |  |  | 150
Integration time [ms] |  |  |  | 10000
Output |  |  |  | Counts / s
Part of Plate |  |  |  | A1-H12
Start Time |  |  |  | 2021-06-11 17:16:56
Temperature [°C] |  |  |  | 25.6
Firefly |  | 188339.8889 | NC | A (STP21) |  |  | B (STP23) |  |  | C (STP49) | Raw Firefly Luciferase luminescence units
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 170132 | 195747 | 178407 | 358738 | 388866 | 364170 | 1618583 | 1520858 | 1419878 | 275820 | 263961 | 258301 |  | 0.90332 | 1.0393 | 0.94726 | 1.9047 | 2.0647 | 1.9336 | 8.5939 | 8.0751 | 7.5389 | 1.4645 | 1.4015 | 1.3715
B | 181576 | 220188 | 189036 | 266171 | 284478 | 259725 | 618947 | 596372 | 477619 | 200412 | 185375 | 175170 |  | 0.96409 | 1.1691 | 1.0037 | 1.4132 | 1.5105 | 1.379 | 3.2863 | 3.1665 | 2.5359 | 1.0641 | 0.98426 | 0.93007
C | 186817 | 194107 | 179049 | 199676 | 197505 | 197559 | 277785 | 251713 | 194482 | 136059 | 138657 | 132506 |  | 0.99191 | 1.0306 | 0.95067 | 1.0602 | 1.0487 | 1.0489 | 1.4749 | 1.3365 | 1.0326 | 0.72241 | 0.73621 | 0.70355
D | 207313 | 250868 | 182193 | 146550 | 152447 | 146076 | 181653 | 181574 | 162272 | 137677 | 125293 | 128244 |  | 1.1007 | 1.332 | 0.96736 | 0.77811 | 0.80942 | 0.7756 | 0.9645 | 0.96408 | 0.86159 | 0.731 | 0.66525 | 0.68092
E | 419269 | 505455 | 401861 | 211620 | 231056 | 219869 | 121902 | 125210 | 88598 | 222851 | 234975 | 236638 |  | 2.2261 | 2.6837 | 2.1337 | 1.1236 | 1.2268 | 1.1674 | 0.64724 | 0.66481 | 0.47042 | 1.1832 | 1.2476 | 1.2564
F | 1156067 | 1358475 | 1153465 | 310899 | 340300 | 332132 | 122905 | 119061 | 106720 | 345879 | 353622 | 334711 |  | 6.1382 | 7.2129 | 6.1244 | 1.6507 | 1.8068 | 1.7635 | 0.65257 | 0.63216 | 0.56664 | 1.8365 | 1.8776 | 1.7772
G | 3661738 | 4714112 | 3798163 | 739822 | 745353 | 710827 | 139618 | 137974 | 121237 | 548940 | 584033 | 642566 |  | 19.4422 | 25.0298 | 20.1665 | 3.9281 | 3.9575 | 3.7742 | 0.74131 | 0.73258 | 0.64371 | 2.9146 | 3.101 | 3.4117
H | 6760866 | 4279631 | 5230319 | 1372493 | 1429798 | 1473884 | 181442 | 163953 | 152854 | 10113 | 12005 | 11552 |  | 35.8972 | 22.7229 | 27.7706 | 7.2873 | 7.5916 | 7.8257 | 0.96338 | 0.87052 | 0.81159 | 0.053695 | 0.063741 | 0.061336
|  | PC-tBHQ |  | C (STP50) |  |  | D (STP102) |  |  | E (STP104)
[7 empty] | As fold induction vs. control |  |  | in uM | [5 empty] | in %
[7 empty] | NC |  | PC 3 | PC 6.25 | PC 12.5 | PC 25 | PC 50 | PC 100 |  | A 0.125 | A 0.25 | A 0.5 | A 1 |  | B 0.125 | B 0.25 | B 0.5 | B 1 |  | C 0.125 | C 0.25 | C 0.5 | C 1 | D 0.125 | D 0.25 | D 0.5 | D 1 | E 0.125 | E 0.25 | E 0.5 | E 1 | F 0.125 | F 0.25 | F 0.5 | F 1
End Time |  |  |  | 2021-06-11 17:40:57
[7 empty] | 0.90332 |  |  | 1.1007 | 2.2261 | 6.1382 | 19.4422 | 35.8972 |  | 0.77811 | 1.0602 | 1.4132 | 1.9047 |  | 0.9645 | 1.4749 | 3.2863 | 8.5939 |  | 0.731 | 0.72241 | 1.0641 | 1.4645 | 1.1236 | 1.6507 | 3.9281 | 7.2873 | 0.64724 | 0.65257 | 0.74131 | 0.96338 | 1.1832 | 1.8365 | 2.9146 | 0.053695
Start Time |  |  |  | 2021-06-11 17:40:59 |  |  | 0.96409 |  |  | 1.332 | 2.6837 | 7.2129 | 25.0298 | 22.7229 |  | 0.80942 | 1.0487 | 1.5105 | 2.0647 |  | 0.96408 | 1.3365 | 3.1665 | 8.0751 |  | 0.66525 | 0.73621 | 0.98426 | 1.4015 | 1.2268 | 1.8068 | 3.9575 | 7.5916 | 0.66481 | 0.63216 | 0.73258 | 0.87052 | 1.2476 | 1.8776 | 3.101 | 0.063741
Movement |  |  |  | Out |  |  | 0.99191 |  |  | 0.96736 | 2.1337 | 6.1244 | 20.1665 | 27.7706 |  | 0.7756 | 1.0489 | 1.379 | 1.9336 |  | 0.86159 | 1.0326 | 2.5359 | 7.5389 |  | 0.68092 | 0.70355 | 0.93007 | 1.3715 | 1.1674 | 1.7635 | 3.7742 | 7.8257 | 0.47042 | 0.56664 | 0.64371 | 0.81159 | 1.2564 | 1.7772 | 3.4117 | 0.061336
End Time |  |  |  | 2021-06-11 17:41:06 |  |  | 1.0393
1.1691
1.0306
0.94726
1.0037
0.95067
[7 empty] | 1 |  |  | 1.1334 | 2.3479 | 6.4918 | 21.5462 | 28.7969 |  | 0.78771 | 1.0526 | 1.4342 | 1.9677 |  | 0.93005 | 1.2813 | 2.9962 | 8.0693 |  | 0.69239 | 0.72072 | 0.99281 | 1.4125 | 1.1726 | 1.7403 | 3.8866 | 7.5682 | 0.59416 | 0.61712 | 0.70587 | 0.88183 | 1.2291 | 1.8304 | 3.1424 | 0.059591
[7 empty] | 0.072272 |  |  | 0.15064 | 0.24048 | 0.5099 | 2.481 | 5.4271 |  | 0.015387 | 0.0053676 | 0.05567 | 0.069614 |  | 0.048411 | 0.18473 | 0.32914 | 0.43074 |  | 0.028043 | 0.013386 | 0.055048 | 0.038759 | 0.04229 | 0.065794 | 0.080394 | 0.2204 | 0.087791 | 0.036659 | 0.044093 | 0.062482 | 0.032627 | 0.041215 | 0.20505 | 0.0042827

## 210611 MTS
Experiment 2; cytotoxicity endpoint readout; tetrazolium dye (MTS)
Method name: MTS_96_SL (Modified)
Application: SparkControl |  |  |  | V3.1
Device: Spark |  |  |  | Serial number: 2009000983
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦GCM:V3.0.2¦INJ:V3.1.1¦PODI:V1.11.2
Date: |  |  |  | 2021-06-11
Time: |  |  |  | 16:41
System |  |  |  | SLU200579
User |  |  |  | AD\
Plate |  |  |  | [COR96fw clear bottom] - Corning 96 Flat White Cat. No.: 3632
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script: | [13 empty] | Legend
Plate | [13 empty] | NC | negative/solvent control (upper row w/o solvent)
| Shaking | [12 empty] | PC | positive control/reference compound
| Absorbance |  |  |  |  | MTS | [7 empty] | STP | environmental sample
Move plate
Calculation
Name |  |  |  | COR96fw clear bottom | [9 empty] | All raw absorbance values were normalized to mean NC value (marked in red, 6-9 technical replicates), and expressed as induced activity
Plate layout | [13 empty] | Historical background values have been substratcted within operating software.
Plate area |  |  |  | A1-H12 | [9 empty] | First, due to consistent and low historical absolute background values not impacting statistical analysis (around ~0.05 raw units).
Second, to increase the space on the multititer plate for NCs and samples.
Start Time |  |  |  | 2021-06-11 16:40:45
Shaking (Orbital) Duration [s] |  |  |  | 20
Shaking (Orbital) Position |  |  |  | Current
Shaking (Orbital) Amplitude [mm] |  |  |  | 1
Shaking (Orbital) Frequency [rpm] |  |  |  | 510
End Time |  |  |  | 2021-06-11 16:41:05
Mode | Absorbance
Name | MTS
Measurement wavelength [nm] |  |  |  | 490
Number of flashes |  |  |  | 25
Settle time [ms] |  |  |  | 0
Part of Plate |  |  |  | A1-H12
Start Time |  |  |  | 2021-06-11 16:41:05
Temperature [°C] |  |  |  | 24.1
|  | 1.1299 | NC | A (STP21) |  |  | B (STP23) |  |  | C (STP49) | Raw absorbance values
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.1597 | 1.2257 | 1.1329 | 1.3018 | 1.2858 | 1.2388 | 1.1658 | 1.1478 | 1.1623 | 1.1402 | 1.1206 | 1.192 |  | 1.0264 | 1.0848 | 1.0026 | 1.1521 | 1.138 | 1.0964 | 1.0318 | 1.0158 | 1.0287 | 1.0091 | 0.99176 | 1.055
B | 1.1186 | 1.1664 | 1.0928 | 1.2179 | 1.2064 | 1.179 | 1.2357 | 1.2492 | 1.2201 | 1.0989 | 1.1393 | 1.1138 |  | 0.98999 | 1.0323 | 0.96716 | 1.0779 | 1.0677 | 1.0434 | 1.0936 | 1.1056 | 1.0798 | 0.97255 | 1.0083 | 0.98574
C | 1.1131 | 1.0962 | 1.0638 | 1.1417 | 1.1348 | 1.0753 | 1.1559 | 1.1682 | 1.1498 | 1.051 | 1.0698 | 1.0798 |  | 0.98512 | 0.97016 | 0.94149 | 1.0104 | 1.0043 | 0.95167 | 1.023 | 1.0339 | 1.0176 | 0.93016 | 0.9468 | 0.95565
D | 1.2311 | 1.2132 | 1.1604 | 1.0583 | 1.0831 | 1.037 | 1.0949 | 1.1123 | 1.131 | 0.9997 | 1.0652 | 1.05 |  | 1.0896 | 1.0737 | 1.027 | 0.93662 | 0.95857 | 0.91777 | 0.96901 | 0.98441 | 1.001 | 0.88476 | 0.94273 | 0.92928
E | 1.3714 | 1.2912 | 1.2262 | 1.2037 | 1.1941 | 1.213 | 1.0399 | 1.0304 | 1.0315 | 1.2231 | 1.2741 | 1.2462 |  | 1.2137 | 1.1427 | 1.0852 | 1.0653 | 1.0568 | 1.0735 | 0.92034 | 0.91193 | 0.9129 | 1.0825 | 1.1276 | 1.1029
F | 1.4342 | 1.4195 | 1.3182 | 1.253 | 1.2499 | 1.2103 | 1.0404 | 1.0431 | 1.0592 | 1.1956 | 1.1627 | 1.1472 |  | 1.2693 | 1.2563 | 1.1666 | 1.1089 | 1.1062 | 1.0711 | 0.92078 | 0.92317 | 0.93742 | 1.0581 | 1.029 | 1.0153
G | 1.5095 | 1.3998 | 1.3461 | 1.2318 | 1.2649 | 1.2303 | 1.0829 | 1.089 | 1.0975 | 1.0097 | 1.0071 | 0.9938 |  | 1.3359 | 1.2389 | 1.1913 | 1.0902 | 1.1195 | 1.0888 | 0.95839 | 0.96379 | 0.97132 | 0.89361 | 0.89131 | 0.87954
H | 0.9677 | 0.7321 | 0.8236 | 1.1013 | 1.1287 | 1.1284 | 1.1674 | 1.1852 | 1.1769 | 0.0904 | 0.0859 | 0.0807 |  | 0.85644 | 0.64793 | 0.72891 | 0.97468 | 0.99893 | 0.99866 | 1.0332 | 1.0489 | 1.0416 | 0.080006 | 0.076024 | 0.071422
|  | PC-tBHQ |  | C (STP50) |  |  | D (STP102) |  |  | E (STP104)
[7 empty] | As fold induction vs. control |  |  | in uM | [5 empty] | in %
End Time |  |  |  | 2021-06-11 16:41:28 |  |  | NC |  | PC 3 | PC 6.25 | PC 12.5 | PC 25 | PC 50 | PC 100 |  | A 0.125 | A 0.25 | A 0.5 | A 1 |  | B 0.125 | B 0.25 | B 0.5 | B 1 |  | C 0.125 | C 0.25 | C 0.5 | C 1 | D 0.125 | D 0.25 | D 0.5 | D 1 | E 0.125 | E 0.25 | E 0.5 | E 1 | F 0.125 | F 0.25 | F 0.5 | F 1
Start Time |  |  |  | 2021-06-11 16:41:31 |  |  | 1.0264 |  |  | 1.0896 | 1.2137 | 1.2693 | 1.3359 | 0.85644 |  | 0.93662 | 1.0104 | 1.0779 | 1.1521 |  | 0.96901 | 1.023 | 1.0936 | 1.0318 |  | 0.88476 | 0.93016 | 0.97255 | 1.0091 | 1.0653 | 1.1089 | 1.0902 | 0.97468 | 1.0332 | 0.95839 | 0.92078 | 0.92034 | 1.0825 | 1.0581 | 0.89361 | 0.080006
Movement |  |  |  | Out |  |  | 1.0848 |  |  | 1.0737 | 1.1427 | 1.2563 | 1.2389 | 0.64793 |  | 0.95857 | 1.0043 | 1.0677 | 1.138 |  | 0.98441 | 1.0339 | 1.1056 | 1.0158 |  | 0.94273 | 0.9468 | 1.0083 | 0.99176 | 1.0568 | 1.1062 | 1.1195 | 0.99893 | 1.0489 | 0.96379 | 0.92317 | 0.91193 | 1.1276 | 1.029 | 0.89131 | 0.076024
End Time |  |  |  | 2021-06-11 16:41:37 |  |  | 1.0026 |  |  | 1.027 | 1.0852 | 1.1666 | 1.1913 | 0.72891 |  | 0.91777 | 0.95167 | 1.0434 | 1.0964 |  | 1.001 | 1.0176 | 1.0798 | 1.0287 |  | 0.92928 | 0.95565 | 0.98574 | 1.055 | 1.0735 | 1.0711 | 1.0888 | 0.99866 | 1.0416 | 0.97132 | 0.93742 | 0.9129 | 1.1029 | 1.0153 | 0.87954 | 0.071422
0.98999
1.0323
0.96716
0.98512
0.97016
0.94149
[7 empty] | 1 |  |  | 1.0634 | 1.1472 | 1.2307 | 1.2554 | 0.74442 |  | 0.93765 | 0.98881 | 1.063 | 1.1288 |  | 0.9848 | 1.0248 | 1.093 | 1.0254 |  | 0.91892 | 0.9442 | 0.98887 | 1.0186 | 1.0652 | 1.0954 | 1.0995 | 0.99076 | 1.0412 | 0.9645 | 0.92712 | 0.91506 | 1.1043 | 1.0342 | 0.88815 | 0.075817
[7 empty] | 0.04034 |  |  | 0.026562 | 0.052558 | 0.045639 | 0.060183 | 0.085829 |  | 0.016672 | 0.026381 | 0.014441 | 0.023663 |  | 0.013046 | 0.0067727 | 0.010523 | 0.0068965 |  | 0.024773 | 0.010566 | 0.014763 | 0.026658 | 0.006829 | 0.017204 | 0.014133 | 0.011369 | 0.0064362 | 0.0052988 | 0.0073453 | 0.0037551 | 0.018454 | 0.01786 | 0.0061632 | 0.0035077

## historical LR
Experiment(s) 3; oxidative stress endpoint readout (Nrf2 activation); single luciferase, firefly (LR)
MCF7c32ARE cells
exposure time:24 hours | 190624 | historical HTS setup by GM
|  |  | NC | A (STP21) |  |  |  | B (STP23) | [16 empty] | One experimental replication stems from a sampling campaign, which had been conducted for a regulatory agency. The presented raw data here were extracted from the related database.
| <> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A |  | 54073 | 77004 | 84642 | 78393 | 183452 | 102010 | 133803 | 211426 | 530803 |  |  |  | 1.1069 | 1.5763 | 1.7327 | 1.6047 | 3.7554 | 2.0882 | 2.739 | 4.328 | 10.8658 |  | Legend
| B |  | 41539 | 78803 | 61933 | 80226 | 161093 | 133737 | 117573 | 233686 | 475675 |  |  |  | 0.85032 | 1.6131 | 1.2678 | 1.6423 | 3.2977 | 2.7377 | 2.4068 | 4.7837 | 9.7373 |  | NC | negative/solvent control
| C |  | 47996 | 65388 | 64470 | 64242 | 160605 | 113056 | 116870 | 213722 | 580866 |  |  |  | 0.9825 | 1.3385 | 1.3197 | 1.3151 | 3.2877 | 2.3143 | 2.3924 | 4.375 | 11.8906 |  | PC | positive control/reference compound
| D |  | 45289 | 74429 | 57578 | 76116 | 136845 | 126250 | 123635 | 204130 | 610696 |  |  |  | 0.92709 | 1.5236 | 1.1787 | 1.5581 | 2.8013 | 2.5844 | 2.5309 | 4.1786 | 12.5013 |  | STP | environmental sample
| E |  | 42813 | 62449 | 53532 | 60827 | 113083 | 78462 | 120301 | 217248 | 327673 |  |  |  | 0.8764 | 1.2784 | 1.0958 | 1.2452 | 2.3149 | 1.6062 | 2.4626 | 4.4472 | 6.7076
| F |  | 58204 | 70046 | 52508 | 67849 | 121949 | 82986 | 120789 | 225087 | 404421 |  |  |  | 1.1915 | 1.4339 | 1.0749 | 1.3889 | 2.4964 | 1.6988 | 2.4726 | 4.6076 | 8.2787 |  | Calculation
| G |  | 42031 | 74569 | 49275 | 73690 | 161611 | 89813 | 114278 | 247262 | 369690 |  |  |  | 0.8604 | 1.5265 | 1.0087 | 1.5085 | 3.3083 | 1.8385 | 2.3393 | 5.0616 | 7.5677 |  | All raw Firerfly luciferase values were normalized to mean NC value (marked in red, 6-9 technical replicates), and expressed as induced activity
| H |  | 58861 | 63658 | 49342 | 83777 | 155379 | 71840 | 105861 | 257744 | 349592 |  |  |  | 1.2049 | 1.3031 | 1.0101 | 1.715 | 3.1807 | 1.4706 | 2.167 | 5.2762 | 7.1563 |  | Historical background values have been substratcted within operating software.
|  | NC 2: 48850.75; A (STP21) 3: C (STP49); B (STP23) 7: D (STP50) | [11 empty] | First, due to consistent and low historical absolute background values not impacting statistical analysis (around 60-80 raw units).
Second, to increase the space on the multititer plate for NCs and samples.
| 190702 | 1: historical HTS setup by GM
|  |  | NC | E (STP102) |  |  |  | F (STP104)
| <> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A |  | 48479 | 60496 | 57213 | 45989 | 75598 | 189101 | 149853 | 147207 | 18011 |  |  |  | 1.103 | 1.3764 | 1.3017 | 1.0463 | 1.72 | 4.3024 | 3.4094 | 3.3492 | 0.40978
| B |  | 43479 | 63700 | 52940 | 45837 | 85030 | 173675 | 151519 | 130208 | 10406 |  |  |  | 0.98923 | 1.4493 | 1.2045 | 1.0429 | 1.9346 | 3.9514 | 3.4473 | 2.9625 | 0.23676
| C |  | 46469 | 64107 | 53511 | 59965 | 85666 | 193147 | 154557 | 141549 | 17205 |  |  |  | 1.0573 | 1.4586 | 1.2175 | 1.3643 | 1.9491 | 4.3944 | 3.5165 | 3.2205 | 0.39145
| D |  | 44435 | 66360 | 56796 | 54086 | 73052 | 182378 | 138846 | 174032 | 9368 |  |  |  | 1.011 | 1.5098 | 1.2922 | 1.2306 | 1.6621 | 4.1494 | 3.159 | 3.9595 | 0.21314
| E | NC 2: 43717; E (STP102) 3: 53168; E (STP102) 4: 76912; E (STP102) 5: 125849; E (STP102) 6: 242562 |  | 0.99464 | 1.2097 | 1.7499 | 2.8633 | 5.5187
| F | NC 2: 39514; E (STP102) 3: 55954; E (STP102) 4: 64508; E (STP102) 5: 114548; E (STP102) 6: 249204 |  | 0.89902 | 1.2731 | 1.4677 | 2.6062 | 5.6698
| G | NC 2: 47601; E (STP102) 3: 76119; E (STP102) 4: 94404; E (STP102) 5: 161277; E (STP102) 6: 533779 |  | 1.083 | 1.7318 | 2.1479 | 3.6693 | 12.1445
| H | NC 2: 37926; E (STP102) 3: 57808; E (STP102) 4: 84491; E (STP102) 5: 139508; E (STP102) 6: 278556 |  | 0.86289 | 1.3152 | 1.9223 | 3.1741 | 6.3377
|  |  | 43952.5 | PC-tBHQ
[5 empty] | in uM | [5 empty] | in %
|  | NC |  | PC 3 | PC 6.25 | PC 12.5 | PC 25 | PC 50 | PC 100 |  | A 0.125 | A 0.25 | A 0.5 | A 1 |  | B 0.125 | B 0.25 | B 0.5 | B 1 |  | C 0.125 | C 0.25 | C 0.5 | C 1 |  | D 0.125 | D 0.25 | D 0.5 | D 1 | E 0.125 | E 0.25 | E 0.5 | E 1 | F 0.125 | F 0.25 | F 0.5 | F 1
| 1.103 | 1.1069 |  | 1.2097 | 1.7499 | 2.8633 | 5.5187 |  |  |  | 1.5763 | 1.7327 | 1.6047 | 3.7554 |  | 2.0882 | 2.739 | 4.328 | 10.8658 |  | 1.2784 | 1.0958 | 1.2452 | 2.3149 |  | 1.6062 | 2.4626 | 4.4472 | 6.7076 | 1.3764 | 1.3017 | 1.0463 | 1.72 | 4.3024 | 3.4094 | 3.3492 | 0.40978
| 0.98923 | 0.85032 |  | 1.2731 | 1.4677 | 2.6062 | 5.6698 |  |  |  | 1.6131 | 1.2678 | 1.6423 | 3.2977 |  | 2.7377 | 2.4068 | 4.7837 | 9.7373 |  | 1.4339 | 1.0749 | 1.3889 | 2.4964 |  | 1.6988 | 2.4726 | 4.6076 | 8.2787 | 1.4493 | 1.2045 | 1.0429 | 1.9346 | 3.9514 | 3.4473 | 2.9625 | 0.23676
| 1.0573 | 0.9825 |  | 1.7318 | 2.1479 | 3.6693 | 12.1445 |  |  |  | 1.3385 | 1.3197 | 1.3151 | 3.2877 |  | 2.3143 | 2.3924 | 4.375 | 11.8906 |  | 1.5265 | 1.0087 | 1.5085 | 3.3083 |  | 1.8385 | 2.3393 | 5.0616 | 7.5677 | 1.4586 | 1.2175 | 1.3643 | 1.9491 | 4.3944 | 3.5165 | 3.2205 | 0.39145
| 1.011 | 0.92709 |  | 1.3152 | 1.9223 | 3.1741 | 6.3377 |  |  |  | 1.5236 | 1.1787 | 1.5581 | 2.8013 |  | 2.5844 | 2.5309 | 4.1786 | 12.5013 |  | 1.3031 | 1.0101 | 1.715 | 3.1807 |  | 1.4706 | 2.167 | 5.2762 | 7.1563 | 1.5098 | 1.2922 | 1.2306 | 1.6621 | 4.1494 | 3.159 | 3.9595 | 0.21314
| 0.99464 | 1: 0.8764
| 0.89902 | 1: 1.1915
| 1.083 | 1: 0.8604
| 0.86289 | 1: 1.2049
|  | 1 |  | 1.3825 | 1.8219 | 3.0782 | 7.4177 | #DIV/0! | #DIV/0! |  | 1.5129 | 1.3747 | 1.5301 | 3.2855 |  | 2.4311 | 2.5173 | 4.4163 | 11.2488 |  | 1.3855 | 1.0474 | 1.4644 | 2.825 |  | 1.6535 | 2.3604 | 4.8481 | 7.4276 | 1.4485 | 1.254 | 1.171 | 1.8164 | 4.1994 | 3.3831 | 3.3729 | 0.31278
|  | 0.11261 |  | 0.20519 | 0.24849 | 0.39612 | 2.7463 | #DIV/0! | #DIV/0! |  | 0.10558 | 0.21273 | 0.12765 | 0.33741 |  | 0.24935 | 0.13889 | 0.22413 | 1.0502 |  | 0.1006 | 0.038707 | 0.17211 | 0.4267 |  | 0.13414 | 0.12337 | 0.33442 | 0.57792 | 0.047592 | 0.043364 | 0.13498 | 0.12716 | 0.16781 | 0.13493 | 0.36619 | 0.088467
| 190621 | 1: historical HTS setup by GM
|  |  | NC | PC-tBHQ
| <> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | NC 2: 45904; PC-tBHQ 3: 62121; PC-tBHQ 4: 117673; PC-tBHQ 5: 235577; PC-tBHQ 6: 516632; PC-tBHQ 7: 867299; PC-tBHQ 8: 1559085 |  |  | 1.2168 | 1.6467 | 3.1193 | 6.2447 | 13.695 | 22.9905 | 41.3285
| B | NC 2: 34339; PC-tBHQ 3: 47248; PC-tBHQ 4: 84665; PC-tBHQ 5: 204697; PC-tBHQ 6: 504862; PC-tBHQ 7: 799790; PC-tBHQ 8: 1422665 |  |  | 0.91026 | 1.2525 | 2.2443 | 5.4261 | 13.383 | 21.201 | 37.7122
| C | NC 2: 36785; PC-tBHQ 3: 77574; PC-tBHQ 4: 86697; PC-tBHQ 5: 251295; PC-tBHQ 6: 461897; PC-tBHQ 7: 692887; PC-tBHQ 8: 1301215 |  |  | 0.9751 | 2.0563 | 2.2982 | 6.6614 | 12.244 | 18.3672 | 34.4928
| D | NC 2: 28749; PC-tBHQ 3: 67385; PC-tBHQ 4: 80529; PC-tBHQ 5: 215992; PC-tBHQ 6: 495064; PC-tBHQ 7: 754739; PC-tBHQ 8: 1301972 |  |  | 0.76208 | 1.7863 | 2.1347 | 5.7255 | 13.1232 | 20.0067 | 34.5129
| E | NC 2: 34922 |  |  | 0.92572
| F | NC 2: 37233 |  |  | 0.98698
| G | NC 2: 42425 |  |  | 1.1246
| H | NC 2: 41437 |  |  | 1.0984
37724.25
in uM
|  | NC |  | PC 3 | PC 6.25 | PC 12.5 | PC 25 | PC 50 | PC 100
|  | 1.2168 |  | 1.6467 | 3.1193 | 6.2447 | 13.695 | 22.9905 | 41.3285
|  | 0.91026 |  | 1.2525 | 2.2443 | 5.4261 | 13.383 | 21.201 | 37.7122
|  | 0.9751 |  | 2.0563 | 2.2982 | 6.6614 | 12.244 | 18.3672 | 34.4928
|  | 0.76208 |  | 1.7863 | 2.1347 | 5.7255 | 13.1232 | 20.0067 | 34.5129
0.92572
0.98698
1.1246
1.0984
|  | 1 |  | 1.6854 | 2.4491 | 6.0144 | 13.1113 | 20.6413 | 37.0116
|  | 0.13379 |  | 0.29013 | 0.39139 | 0.47463 | 0.54008 | 1.6887 | 2.8158

## historical MTS
Experiment(s) 3; cytotoxicity endpoint readout; tetrazolium dye (MTS)
MCF7c32ARE cells
exposure time:24 hours |  |  | 190624 | historical HTS setup by GM
[5 empty] | NC | A (STP21) | [16 empty] | One experimental replication stems from a sampling campaign, which had been conducted for a regulatory agency. The presented raw data here were extracted from the related database.
|  |  | <> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  | A | NC 2: 0.41128; A (STP21) 3: 0.40285; A (STP21) 4: 0.40664; A (STP21) 5: 0.46853; A (STP21) 6: 0.47282 | 0.99909 | 0.97862 | 0.98782 | 1.1382 | 1.1486 |  |  | Legend
|  |  | B | NC 2: 0.44588; A (STP21) 3: 0.37063; A (STP21) 4: 0.34927; A (STP21) 5: 0.46952; A (STP21) 6: 0.4895 | 1.0831 | 0.90036 | 0.84845 | 1.1406 | 1.1891 |  |  | NC | negative/solvent control
|  |  | C | NC 2: 0.41885; A (STP21) 3: 0.36765; A (STP21) 4: 0.46792; A (STP21) 5: 0.47208; A (STP21) 6: 0.50316 | 1.0175 | 0.89312 | 1.1367 | 1.1468 | 1.2223 |  |  | PC | positive control/reference compound
|  |  | D | NC 2: 0.39162; A (STP21) 3: 0.36538; A (STP21) 4: 0.51468; A (STP21) 5: 0.47905; A (STP21) 6: 0.48089 | 0.95135 | 0.88759 | 1.2503 | 1.1637 | 1.1682 |  |  | STP | environmental sample
|  |  | E | NC 2: 0.38564; A (STP21) 3: 0.50311; A (STP21) 4: 0.50844; A (STP21) 5: 0.50833; A (STP21) 6: 0.46835 | 0.9368 | 1.2222 | 1.2351 | 1.2349 | 1.1377
|  |  | F | NC 2: 0.40533; A (STP21) 3: 0.50725; A (STP21) 4: 0.51707; A (STP21) 5: 0.51229; A (STP21) 6: 0.46752 | 0.98463 | 1.2322 | 1.2561 | 1.2445 | 1.1357 |  |  | Calculation
|  |  | G | NC 2: 0.40823; A (STP21) 3: 0.52854; A (STP21) 4: 0.51009; A (STP21) 5: 0.55055; A (STP21) 6: 0.50424 | 0.9917 | 1.284 | 1.2391 | 1.3374 | 1.2249 |  |  | All raw absorbance values were normalized to mean NC value (marked in red, 6-9 technical replicates), and expressed as induced activity
|  |  | H | NC 2: 0.42639; A (STP21) 3: 0.52319; A (STP21) 4: 0.53964; A (STP21) 5: 0.54819; A (STP21) 6: 0.49806 | 1.0358 | 1.2709 | 1.3109 | 1.3317 | 1.2099 |  |  | Historical background values have been substratcted within operating software.
|  |  |  | NC 2: 0.41165; A (STP21) 3: B (STP23) | [7 empty] | First, due to consistent and low historical absolute background values not impacting statistical analysis (around ~0.05 raw units).
Second, to increase the space on the multititer plate for NCs and samples.
|  |  | 190624 | 1: historical HTS setup by GM
[5 empty] | NC | C (STP49)
|  |  | <> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  | A | NC 2: 0.53465; C (STP49) 3: 0.57948; C (STP49) 4: 0.61413; C (STP49) 5: 0.64365; C (STP49) 6: 0.59045 | 0.97997 | 1.0621 | 1.1257 | 1.1798 | 1.0822
|  |  | B | NC 2: 0.5591; C (STP49) 3: 0.56647; C (STP49) 4: 0.57482; C (STP49) 5: 0.58609; C (STP49) 6: 0.57548 | 1.0248 | 1.0383 | 1.0536 | 1.0742 | 1.0548
|  |  | C | NC 2: 0.4863; C (STP49) 3: 0.58238; C (STP49) 4: 0.6554; C (STP49) 5: 0.58426; C (STP49) 6: 0.61871 | 0.89135 | 1.0675 | 1.2013 | 1.0709 | 1.134
|  |  | D | NC 2: 0.55699; C (STP49) 3: 0.59065; C (STP49) 4: 0.66737; C (STP49) 5: 0.62441; C (STP49) 6: 0.63631 | 1.0209 | 1.0826 | 1.2232 | 1.1445 | 1.1663
|  |  | E | NC 2: 0.61146; C (STP49) 3: 0.59703; C (STP49) 4: 0.58104; C (STP49) 5: 0.63955; C (STP49) 6: 0.54341 | 1.1208 | 1.0943 | 1.065 | 1.1722 | 0.99602
|  |  | F | NC 2: 0.53206; C (STP49) 3: 0.61429; C (STP49) 4: 0.6252; C (STP49) 5: 0.53065; C (STP49) 6: 0.51838 | 0.97522 | 1.1259 | 1.1459 | 0.97263 | 0.95014
|  |  | G | NC 2: 0.49301; C (STP49) 3: 0.61606; C (STP49) 4: 0.66699; C (STP49) 5: 0.53051; C (STP49) 6: 0.54596 | 0.90364 | 1.1292 | 1.2225 | 0.97237 | 1.0007
|  |  | H | NC 2: 0.59107; C (STP49) 3: 0.5585; C (STP49) 4: 0.66518; C (STP49) 5: 0.69198; C (STP49) 6: 0.61886 | 1.0834 | 1.0237 | 1.2192 | 1.2683 | 1.1343
[5 empty] | 0.54558 | D (STP50)
|  |  | 190624 | 1: historical HTS setup by GM
[5 empty] | NC | E (STP102)
|  |  | <> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  | A | NC 2: 0.56641; E (STP102) 3: 0.71084; E (STP102) 4: 0.67466; E (STP102) 5: 0.69247; E (STP102) 6: 0.69132 | 0.97959 | 1.2294 | 1.1668 | 1.1976 | 1.1956
|  |  | B | NC 2: 0.53015; E (STP102) 3: 0.68955; E (STP102) 4: 0.66956; E (STP102) 5: 0.69821; E (STP102) 6: 0.66112 | 0.91688 | 1.1926 | 1.158 | 1.2075 | 1.1434
|  |  | C | NC 2: 0.62278; E (STP102) 3: 0.7066; E (STP102) 4: 0.65601; E (STP102) 5: 0.62287; E (STP102) 6: 0.53363 | 1.0771 | 1.2221 | 1.1346 | 1.0772 | 0.92291
|  |  | D | NC 2: 0.65986; E (STP102) 3: 0.75026; E (STP102) 4: 0.76028; E (STP102) 5: 0.62962; E (STP102) 6: 0.73151 | 1.1412 | 1.2976 | 1.3149 | 1.0889 | 1.2651
|  |  | E | NC 2: 0.58069; E (STP102) 3: 0.728; E (STP102) 4: 0.59883; E (STP102) 5: 0.50943; E (STP102) 6: 0.26052 | 1.0043 | 1.2591 | 1.0357 | 0.88105 | 0.45056
|  |  | F | NC 2: 0.45078; E (STP102) 3: 0.72807; E (STP102) 4: 0.57028; E (STP102) 5: 0.62112; E (STP102) 6: 0.25304 | 0.77961 | 1.2592 | 0.98629 | 1.0742 | 0.43762
|  |  | G | NC 2: 0.64825; E (STP102) 3: 0.64838; E (STP102) 4: 0.67488; E (STP102) 5: 0.56363; E (STP102) 6: 0.25131 | 1.1211 | 1.1214 | 1.1672 | 0.97479 | 0.43464
|  |  | H | NC 2: 0.56675; E (STP102) 3: 0.64615; E (STP102) 4: 0.65783; E (STP102) 5: 0.46299; E (STP102) 6: 0.25167 | 0.98019 | 1.1175 | 1.1377 | 0.80073 | 0.43525
[5 empty] | 0.57821 | F (STP104)
|  |  | 190621 | 1: historical HTS setup by GM
[5 empty] | NC | PC-tBHQ
|  |  | <> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  | A | NC 2: 0.6061; PC-tBHQ 3: 0.7696; PC-tBHQ 4: 0.6495; PC-tBHQ 5: 0.693; PC-tBHQ 6: 0.707; PC-tBHQ 7: 0.7219; PC-tBHQ 8: 0.9382 | 1.0048 | 1.2759 | 1.0768 | 1.1489 | 1.1721 | 1.1968 | 1.5554
|  |  | B | NC 2: 0.6207; PC-tBHQ 3: 0.6202; PC-tBHQ 4: 0.6689; PC-tBHQ 5: 0.6812; PC-tBHQ 6: 0.788; PC-tBHQ 7: 0.7008; PC-tBHQ 8: 0.9652 | 1.029 | 1.0282 | 1.1089 | 1.1293 | 1.3064 | 1.1618 | 1.6002
|  |  | C | NC 2: 0.6895; PC-tBHQ 3: 0.8061; PC-tBHQ 4: 0.6835; PC-tBHQ 5: 0.6762; PC-tBHQ 6: 0.7603; PC-tBHQ 7: 0.6955; PC-tBHQ 8: 0.8606 | 1.1431 | 1.3364 | 1.1331 | 1.121 | 1.2605 | 1.153 | 1.4268
|  |  | D | NC 2: 0.5388; PC-tBHQ 3: 0.6157; PC-tBHQ 4: 0.6536; PC-tBHQ 5: 0.6462; PC-tBHQ 6: 0.6883; PC-tBHQ 7: 0.6858; PC-tBHQ 8: 0.8934 | 0.89325 | 1.0207 | 1.0836 | 1.0713 | 1.1411 | 1.137 | 1.4811
|  |  | E | NC 2: 0.5591; PC-tBHQ 3: 0.6993; PC-tBHQ 4: 0.5755; PC-tBHQ 5: 0.6868; PC-tBHQ 6: 0.6551; PC-tBHQ 7: 0.7273; PC-tBHQ 8: 0.9859 | 0.92691 | 1.1593 | 0.9541 | 1.1386 | 1.0861 | 1.2058 | 1.6345
|  |  | F | NC 2: 0.5149; PC-tBHQ 3: 0.6671; PC-tBHQ 4: 0.6644; PC-tBHQ 5: 0.7028; PC-tBHQ 6: 0.7849; PC-tBHQ 7: 0.6736; PC-tBHQ 8: 0.9134 | 0.85363 | 1.106 | 1.1015 | 1.1651 | 1.3013 | 1.1167 | 1.5143
|  |  | G | NC 2: 0.703 | 1.1655
|  |  | H | NC 2: 0.5934 | 0.98377
0.60319
[6 empty] | in uM | [5 empty] | in %
|  |  | NC |  | PC 3 | PC 6.25 | PC 12.5 | PC 25 | PC 50 | PC 100 |  | A 0.125 | A 0.25 | A 0.5 | A 1 | B 0.125 | B 0.25 | B 0.5 | B 1 |  | C 0.125 | C 0.25 | C 0.5 | C 1 | D 0.125 | D 0.25 | D 0.5 | D 1 | E 0.125 | E 0.25 | E 0.5 | E 1 | F 0.125 | F 0.25 | F 0.5 | F 1
1.0048 | 0.97959 | 0.97997 | 0.99909 |  | 1.2759 | 1.0768 | 1.1489 | 1.1721 | 1.1968 | 1.5554 |  | 0.97862 | 0.98782 | 1.1382 | 1.1486 | 1.2222 | 1.2351 | 1.2349 | 1.1377 |  | 1.0621 | 1.1257 | 1.1798 | 1.0822 | 1.0943 | 1.065 | 1.1722 | 0.99602 | 1.2294 | 1.1668 | 1.1976 | 1.1956 | 1.2591 | 1.0357 | 0.88105 | 0.45056
1.029 | 0.91688 | 1.0248 | 1.0831 |  | 1.0282 | 1.1089 | 1.1293 | 1.3064 | 1.1618 | 1.6002 |  | 0.90036 | 0.84845 | 1.1406 | 1.1891 | 1.2322 | 1.2561 | 1.2445 | 1.1357 |  | 1.0383 | 1.0536 | 1.0742 | 1.0548 | 1.1259 | 1.1459 | 0.97263 | 0.95014 | 1.1926 | 1.158 | 1.2075 | 1.1434 | 1.2592 | 0.98629 | 1.0742 | 0.43762
1.1431 | 1.0771 | 0.89135 | 1.0175 |  | 1.3364 | 1.1331 | 1.121 | 1.2605 | 1.153 | 1.4268 |  | 0.89312 | 1.1367 | 1.1468 | 1.2223 | 1.284 | 1.2391 | 1.3374 | 1.2249 |  | 1.0675 | 1.2013 | 1.0709 | 1.134 | 1.1292 | 1.2225 | 0.97237 | 1.0007 | 1.2221 | 1.1346 | 1.0772 | 0.92291 | 1.1214 | 1.1672 | 0.97479 | 0.43464
0.89325 | 1.1412 | 1.0209 | 0.95135 |  | 1.0207 | 1.0836 | 1.0713 | 1.1411 | 1.137 | 1.4811 |  | 0.88759 | 1.2503 | 1.1637 | 1.1682 | 1.2709 | 1.3109 | 1.3317 | 1.2099 |  | 1.0826 | 1.2232 | 1.1445 | 1.1663 | 1.0237 | 1.2192 | 1.2683 | 1.1343 | 1.2976 | 1.3149 | 1.0889 | 1.2651 | 1.1175 | 1.1377 | 0.80073 | 0.43525
0.92691 | 1.0043 | 1.1208 | 0.9368 | NC 2: 1.1593; PC-tBHQ 3: 0.9541; PC-tBHQ 4: 1.1386; PC-tBHQ 5: 1.0861; PC-tBHQ 6: 1.2058; PC-tBHQ 7: 1.6345
0.85363 | 0.77961 | 0.97522 | 0.98463 | NC 2: 1.106; PC-tBHQ 3: 1.1015; PC-tBHQ 4: 1.1651; PC-tBHQ 5: 1.3013; PC-tBHQ 6: 1.1167; PC-tBHQ 7: 1.5143
1.1655 | 1.1211 | 0.90364 | 0.9917
0.98377 | 0.98019 | 1.0834 | 1.0358
|  |  | 1 |  | 1.1544 | 1.0763 | 1.1291 | 1.2112 | 1.1619 | 1.5354 |  | 0.91492 | 1.0558 | 1.1473 | 1.182 | 1.2523 | 1.2603 | 1.2871 | 1.1771 |  | 1.0626 | 1.1509 | 1.1173 | 1.1093 | 1.0933 | 1.1632 | 1.0964 | 1.0203 | 1.2354 | 1.1936 | 1.1428 | 1.1318 | 1.1893 | 1.0817 | 0.93269 | 0.43952
|  |  | 0.087299 |  | 0.11835 | 0.057616 | 0.029401 | 0.083366 | 0.031313 | 0.070246 |  | 0.037055 | 0.15164 | 0.009983 | 0.027296 | 0.025791 | 0.030259 | 0.047606 | 0.040695 |  | 0.015935 | 0.066853 | 0.046497 | 0.043484 | 0.042427 | 0.064421 | 0.12847 | 0.068733 | 0.038448 | 0.071037 | 0.05999 | 0.12808 | 0.069858 | 0.0736 | 0.10232 | 0.0064739